## Cover
IURC Cause No. 45253
On Behalf of Duke Energy Indiana, LLC
Appendix to 2023 Annual Performance Metrics Report

## 2023 DEI Metric Report Apendix
Duke Energy Indiana, LLC
Performance Metric Report
Annual Data
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
SAFETY
Property and Public Safety
Underground Damage Rate - per 1000 requests | NA | NA | NA | 1.2% | 1.17% | 0.92% | 0.84% | 0.955% | 0.89%
Vendor On-Time Performance Rate - vendor reported | NA | NA | NA | 98.4% | 95.59% | 98.7% | 97.8% | 95.4% | 91.9%
Employee Safety
Total Incident Case Rate (TICR) | 1.53 | 0.82 | 0.86 | 1.26 | 1.08 | 0.53 | 0.98 | 0.91 | 0.55
Days Away, Restricted or Transferred Rate (DART) | 0.8 | 0.68 | 0.6 | 0.51 | 0.51 | 0.33 | 0.049 | 0.7 | 0.07
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
RELIABILITY
Major Event Days
Major Event Days (MED) | 6 | 4 | 10 | 7 | 9 | 6 | 4 | 3 | 11
Threshold MED (TMED) - minutes | 5.26 | 5.1 | 4.59 | 4.73 | 5.43 | 5.76 | 6.05 | 5.8734 | 5.77
Reliability Indices
System Average Interruption Duration (SAIDI) with MED | 211 | 289.8 | 260.7 | 366 | 220.6 | 278.9 | 203.1 | 215.7 | 645.3
System Average Interruption Duration (SAIDI) excl. MED | 121 | 142.5 | 138.3 | 156.2 | 140.4 | 121 | 127.1 | 160.4 | 98
System Average Interruption Frequency Index (SAIFI) with MED | 1.27 | 1.34 | 1.33 | 1.45 | 1.38 | 1.25 | 1.11 | 1.32 | 1.48
System Average Interruption Frequency Index (SAIFI) excl. MED | 1.03 | 1.1 | 0.99 | 1.06 | 1.07 | 0.95 | 0.94 | 1.16 | 0.89
Customer Average Interruption Duration Index (CAIDI) with MED | 166.1 | 216.7 | 196 | 252.9 | 160 | 222.5 | 182.3 | 163.9 | 434.7
Customer Average Interruption Duration Index (CAIDI) - excl. MED | 117.5 | 129.6 | 139.6 | 148 | 131.6 | 127.2 | 135.9 | 138.4 | 109.9
Vegetation Management
Transmission Overhead Line Miles | 601.47 | 390.84 | 558.98 | 444.1 | 659 | 417.5 | 586 | 273.28 | 463.1
Distribution Overhead Line Miles | 3149.65 | 2420.64 | 1009.45 | 1008.59 | 980.45 | 2813.1 | 3361.05 | 3197.84 | 3389.4
Transmission Investment (in Millions) | 10.6 | 9.4 | 8.6 | 10.2 | 23.1 | 24.7 | 29.7 | 25.9 | 30.2
Distribution Investment (in Millions) | 20.1 | 22.9 | 17.3 | 24.9 | 40.8 | 60 | 60.3 | 58.7 | 59.4
Transmission & Distribution SAIDI (with MED) | 81.5 | 94.2 | 103.6 | 164.5 | 86.8 | 116.4 | 70.9 | 66.9 | 224
Transmission & Distribution SAIDI (excl. MED) | 37.6 | 40.7 | 42.6 | 50.6 | 44.1 | 34.2 | 36 | 40.4 | 23
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
GENERATION
Capacity - Summer (1)
Unforced Capacity (UCAP)/SAC - Coal | 3884 | 3816 | 3816 | 3761 | 3816 | 3694 | 3344 | 3252 | 3050
Unforced Capacity (UCAP)/SAC - IGCC | 482 | 464 | 473 | 456 | 477 | 460 | 473 | 444 | 429
Unforced Capacity (UCAP)/SAC - Gas | 1662 | 1699 | 1689 | 1669 | 1715 | 1700 | 1692 | 1703 | 1780
Unforced Capacity (UCAP)/SAC - Hydro | 56 | 54 | 53 | 40 | 39 | 34 | 51 | 55 | 52
Unforced Capacity (UCAP)/SAC - Wind | 10 | 10 | 9 | 8 | 9 | 8 | 5 | 7 | 6
Unforced Capacity (UCAP)/SAC - Oil | 143 | 134 | 124 | 9 | 9 | 8 | 9 | 9 | 10
Unforced Capacity (UCAP)/SAC - Solar | 0 | 0 | 0 | 11 | 24 | 26 | 26 | 27 | 27
Unforced Capacity (UCAP)/SAC - Total | 6237 | 6177 | 6164 | 5954 | 6089 | 5929 | 5599 | 5498 | 5359
Uncredited Capacity (UCAP) - Total | 527 | 565 | 577 | 635 | 543 | 680 | 735 | 805 | 968
Total Installed Capacity (ICAP) | 6764 | 6742 | 6742 | 6589 | 6632 | 6610 | 6334 | 6302 | 6326
Capacity - Fall (1)
Unforced Capacity (UCAP)/SAC - Coal | NA | NA | NA | NA | NA | NA | NA | NA | 3030
Unforced Capacity (UCAP)/SAC - IGCC | NA | NA | NA | NA | NA | NA | NA | NA | 470
Unforced Capacity (UCAP)/SAC - Gas | NA | NA | NA | NA | NA | NA | NA | NA | 1574
Unforced Capacity (UCAP)/SAC - Hydro | NA | NA | NA | NA | NA | NA | NA | NA | 39
Unforced Capacity (UCAP)/SAC - Wind | NA | NA | NA | NA | NA | NA | NA | NA | 8
Unforced Capacity (UCAP)/SAC - Oil | NA | NA | NA | NA | NA | NA | NA | NA | 10
Unforced Capacity (UCAP)/SAC - Solar | NA | NA | NA | NA | NA | NA | NA | NA | 19
Unforced Capacity (UCAP)/SAC - Total | NA | NA | NA | NA | NA | NA | NA | NA | 5149
Uncredited Capacity (UCAP) - Total | NA | NA | NA | NA | NA | NA | NA | NA | 1213
Total Installed Capacity (ICAP) | NA | NA | NA | NA | NA | NA | NA | NA | 6362
Capacity - Winter (1)
Unforced Capacity (UCAP)/SAC - Coal | NA | NA | NA | NA | NA | NA | NA | NA | 2930
Unforced Capacity (UCAP)/SAC - IGCC | NA | NA | NA | NA | NA | NA | NA | NA | 486
Unforced Capacity (UCAP)/SAC - Gas | NA | NA | NA | NA | NA | NA | NA | NA | 1990
Unforced Capacity (UCAP)/SAC - Hydro | NA | NA | NA | NA | NA | NA | NA | NA | 22
Unforced Capacity (UCAP)/SAC - Wind | NA | NA | NA | NA | NA | NA | NA | NA | 25
Unforced Capacity (UCAP)/SAC - Oil | NA | NA | NA | NA | NA | NA | NA | NA | 10
Unforced Capacity (UCAP)/SAC - Solar | NA | NA | NA | NA | NA | NA | NA | NA | 0
Unforced Capacity (UCAP)/SAC - Total | NA | NA | NA | NA | NA | NA | NA | NA | 5462
Uncredited Capacity (UCAP) - Total | NA | NA | NA | NA | NA | NA | NA | NA | 1307
Total Installed Capacity (ICAP) | NA | NA | NA | NA | NA | NA | NA | NA | 6770
Capacity - Spring (1)
Unforced Capacity (UCAP)/SAC - Coal | NA | NA | NA | NA | NA | NA | NA | NA | 2938
Unforced Capacity (UCAP)/SAC - IGCC | NA | NA | NA | NA | NA | NA | NA | NA | 446
Unforced Capacity (UCAP)/SAC - Gas | NA | NA | NA | NA | NA | NA | NA | NA | 1816
Unforced Capacity (UCAP)/SAC - Hydro | NA | NA | NA | NA | NA | NA | NA | NA | 20
Unforced Capacity (UCAP)/SAC - Wind | NA | NA | NA | NA | NA | NA | NA | NA | 23
Unforced Capacity (UCAP)/SAC - Oil | NA | NA | NA | NA | NA | NA | NA | NA | 11
Unforced Capacity (UCAP)/SAC - Solar | NA | NA | NA | NA | NA | NA | NA | NA | 23
Unforced Capacity (UCAP)/SAC - Total | NA | NA | NA | NA | NA | NA | NA | NA | 5276
Uncredited Capacity (UCAP) - Total | NA | NA | NA | NA | NA | NA | NA | NA | 1202
Total Installed Capacity (ICAP) | NA | NA | NA | NA | NA | NA | NA | NA | 6478
Net Capacity Factors
Net Capacity Factor - Coal | 49.92% | 56.68% | 61.48% | 61.68% | 41.24% | 41.5% | 36.88% | 37.41% | 33.63%
Net Capacity Factor - IGCC | 57.4% | 56.97% | 73.32% | 73.19% | 73.55% | 60.2% | 70.93% | 72.82% | 64.65%
Net Capacity Factor - Gas | 38.86% | 39.68% | 20.78% | 55.45% | 55.38% | 61.5% | 46.9% | 57.13% | 46.82%
Net Capacity Factor - Hydro | 76.88% | 86.73% | 51.83% | 32.72% | 41.7% | 51.8% | 68.29% | 68.29% | 84.13%
Performance
Equivalent Availability Factor (EAF) - Coal | 78.51% | 85.12% | 83.26% | 82.79% | 75.07% | 72.7% | 64.38% | 67.38% | 72.89%
Equivalent Availability Factor (EAF) - IGCC | 68.49% | 59.58% | 78.09% | 75.7% | 75.41% | 62.9% | 72.81% | 75.67% | 66.85%
Equivalent Availability Factor (EAF) - Gas | 84.53% | 83.08% | 82.46% | 82.62% | 78.28% | 79.6% | 78.97% | 78.25% | 75.56%
Equivalent Availability Factor (EAF) - Hydro | 93.56% | 95.92% | 80.22% | 56.63% | 54.07% | 63.9% | 78.69% | 84.88% | 77.43%
Equivalent Forced Outage Rate (EFOR) - Coal | 11.59% | 8.06% | 6.39% | 10.07% | 14.77% | 15.3% | 14.77% | 13.36% | 8.3%
Equivalent Forced Outage Rate (EFOR) - IGCC | 18.82% | 19.94% | 13.58% | 12.5% | 16.02% | 12.6% | 14.89% | 15.72% | 8.59%
Equivalent Forced Outage Rate (EFOR) - Gas | 8.4% | 11.6% | 7.7% | 2% | 6% | 9.3% | 9.7% | 5.717% | 15.84%
Equivalent Forced Outage Rate (EFOR) - Hydro | 5.63% | 3.77% | 8.74% | 10.64% | 2.2% | 2.8% | 2.437% | 1.004% | 0.24%
Equivalent Forced Outage Factor (EFOF) - Coal | 8.94% | 6.55% | 5.19% | 8.68% | 10.29% | 10.4% | 9.009% | 9.393% | 5.7%
Equivalent Forced Outage Factor (EFOF) - IGCC | 16.41% | 15.67% | 13.58% | 12.41% | 16.02% | 9.8% | 14.87% | 15.72% | 8.35%
Equivalent Forced Outage Factor (EFOF) - Gas | 4.72% | 6.9% | 2.48% | 1.68% | 4.9% | 7.9% | 7.453% | 4.22% | 11.5%
Equivalent Forced Outage Factor (EFOF) - Hydro | 5.58% | 3.75% | 7.68% | 6.75% | 1.19% | 1.8% | 1.585% | 0.6557% | 0.2%
CT Starting Reliability | 99.6% | 99.21% | 99.44% | 99.53% | 99.64% | 99.9% | 99.8% | 99.23% | 99.57%
CT Starts | 2245 | 2138 | 1791 | 2979 | 1916 | 1802 | 2559 | 2836 | 2988
Solar Energy Yield | NA | NA | 86.8% | 93.8% | 99.2% | 98.5% | 84.6% | 97.2% | 98.7%
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
CUSTOMER SERVICE
Call Center Operations
Average Speed of Answer (ASA) - seconds | 57.5 | 32.9 | 36.7 | 56.4 | 167.3 | 122.8 | 64.7 | 67.7 | 44.7
Abandonment Rate | 5.45% | 3.63% | 3.36% | 5.24% | 13.93% | 10.68% | 5.92% | 4.9% | 4.2%
Service Level | 68% | 80% | 77% | 69.9% | 54% | 77% | 89% | 88% | 88%
Service Efficiency
Meter Reading Accuracy | 96.4% | 98.5% | 98.5% | 97.5% | 97.6% | 95.5% | 94.4% | 94.4% | 95.2%
First Call Resolution | 83.6% | 86% | 87% | 87.7% | 84.3% | 79.9% | 68.5% | 65.2% | 65%
AMI Meters | NA | 37100 | 277812 | 569581 | 866267 | 0 | 0 | 0 | 0
Customer Satisfaction
JD Power Residential Score (2) | 669 | 686 | 733 | 731 | 746 | 756 | 759 | 734 | 722
IURC Customer Complaints - Total | 158 | 236 | 579 | 294 | 263 | 179 | 183 | 268 | 191
IURC Customer Complaints - Substantiated | 14 | 11 | 13 | 3 | 6 | 10 | 17 | 9 | 7
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
AFFORDABILITY
Average Rates (3)
Typical Residential 1000 kWh Bill - Monthly | 119.17 | 111.26 | 118.76 | 118.76 | 123.43 | 116.66 | 129.73 | 138.87 | 167.22
DEI Average Residential kWh Bill (960 kWh) - Monthly | 115.23 | 107.67 | 114.85 | 114.82 | 119.33 | 112.79 | 125.44 | 134.23 | 161.43
Commercial Bill - EEI Profile (3 kW, .375 MWh) - Cents per kWh | 0.1493 | 0.1413 | 0.152 | 0.152 | 0.16 | 0.152 | 0.168 | 0.17867 | 0.2053
Commercial Bill - EEI Profile (40 kW, 10 MWh) - Cents per kWh | 0.0919 | 0.0843 | 0.0947 | 0.0946 | 0.1038 | 0.098 | 0.1048 | 0.116 | 0.1428
Commercial Bill - EEI Profile (500 kW, 150 MWh) - Cents per kWh | 0.0936 | 0.0858 | 0.0945 | 0.0937 | 0.0998 | 0.0946 | 0.0991 | 0.1097 | 0.1249
Industrial Bill - EEI Profile (75 kW, 15 MWh) - Cents per kWh | 0.0996 | 0.0917 | 0.1005 | 0.0988 | 0.105 | 0.0994 | 0.1037 | 0.11373 | 0.1423
Industrial Bill - EEI Profile (75 kW, 50 MWh) - Cents per kWh | 0.0719 | 0.064 | 0.0708 | 0.0701 | 0.0777 | 0.0728 | 0.0792 | 0.09076 | 0.1174
Industrial Bill - EEI Profile (50 MW, 15 GWh) - Cents per kWh | 0.0835 | 0.0756 | 0.0843 | 0.0828 | 0.0899 | 0.0843 | 0.084 | 0.09472 | 0.1233
Industrial Bill - EEI Profile (75 kW, 25 GWh) - Cents per kWh | 0.0757 | 0.0679 | 0.0758 | 0.0743 | 0.0814 | 0.076 | 0.0755 | 0.086372 | 0.1144
Bill Delinquency
Average % of Account Dollars in Arrears (greater than 30 days past due) | 16% | 15% | 15% | 16% | 15% | 20% | 17% | 24.53% | 27%
Number of Disconnections for Non-Payment | 85525 | 78628 | 95908 | 64225 | 48293 | 27745 | 51528 | 22786 | 40509
Number of Disconnection Notices | 685601 | 568650 | 707922 | 958618 | 990206 | 512553 | 770958 | 407344 | 464446
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
EXPENSE
Sales
Retail Sales - Residential | 8924185 | 9036012 | 8644836 | 9550112 | 9246749 | 9081648 | 9169936 | 9437091 | 8610814
Retail Sales - Commercial | 6244535 | 6322074 | 6145934 | 6340543 | 6207538 | 5771238 | 6013835 | 6364838 | 6228067
Retail Sales - Industrial | 10505307 | 10564695 | 10598737 | 10607298 | 10327072 | 9573093 | 9769133 | 9534798 | 8895566
Retail Sales - Other Public Authorities | 2094028 | 2083006 | 2054448 | 2080750 | 2004345 | 1846217 | 1935835 | 1893076 | 1819591
Retail Sales - Other | 52900 | 52596 | 52457 | 51967 | 51279 | 50706 | 50078 | 60110 | 64847
Retail Sales - Total | 27820955 | 28058383 | 27496412 | 28630670 | 27836983 | 26322902 | 26938817 | 27289913 | 25618885
Wholesale Sales | 5696614 | 6310443 | 5649258 | 5624027 | 4050380 | 4205349 | 4448950 | 4689027 | 4599744
Total Sales | 33517569 | 34368826 | 33145670 | 34254697 | 31887363 | 30528251 | 31387767 | 31978940 | 30218629
Retail Sales - Residential (weather normal) | 8099206 | 8942776 | 8891748 | 9043034 | 9001828 | 9164431 | 9170165.084 | 9140900 | 9028539
Annual Residential kWh Usage per Customer (Total) | 12759.0429 | 12766.6598 | 12107.2065 | 13185.2625 | 12598.7119 | 12189.6898 | 12172.2283 | 12250.06 | 11011.8203
Annual Residential kWh Usage per Customer (weather normal) | 11579.5579 | 12634.93 | 12453.01 | 12485.1706 | 12265.0066 | 12300.8039 | 12172.5324 | 11865.5816 | 11546.0221
Total MWh Generated | 26381251 | 27097612 | 27580105 | 28941216 | 21144373 | 20849664 | 19442882 | 19607255 | 18158093
Transmission Conductor Miles | 5300 | 5200 | 5300 | 5286 | 5335 | 5268 | 5300 | 5300 | 5300
Distribution Conductor Miles | 31000 | 31200 | 31300 | 31200 | 31300 | 31472 | 31300 | 31900 | 31800
Customers
Retail Customers - Residential | 699440 | 707782 | 714024 | 724302 | 733944 | 745027 | 753349 | 770371 | 781961
Retail Customers - Commercial | 90381 | 90688 | 91018 | 91476 | 91663 | 92420 | 93069 | 95320 | 96399
Retail Customers - Industrial | 2707 | 2721 | 2718 | 2721 | 2692 | 2697 | 2688 | 2669 | 2648
Retail Customers - Other Public Authorities | 10220 | 10181 | 10145 | 10063 | 10056 | 10038 | 9999 | 9510 | 9247
Retail Customers - Other | 1574 | 1615 | 1664 | 1708 | 1761 | 1822 | 1867 | 3458 | 3905
Retail Customers - Total | 804322 | 812987 | 819569 | 830270 | 840116 | 852004 | 860972 | 881328 | 894160
O&M Expense
Total Power Production O&M | 1280756693 | 1235583591 | 1320709629 | 1351275902 | 1275469050 | 1115013534 | 1293209011 | 2110611102 | 1538558061
Total Non-Fuel Power Production O&M | 319758929 | 248812464 | 386772789 | 326392916 | 379638676 | 319018254 | 145784908 | 293807539 | 466707413
Total Transmission O&M | 62855008 | 76550395 | 82484614 | 91492718 | 110818348 | 105932303 | 105803748 | 104849752 | 83850087
Total Regional Market Expenses | 5368532 | 5608788 | 5009811 | 6138910 | 7541986 | 7082856 | 5332555 | 5135085 | 5563916
Total Distribution O&M | 91194003 | 99679927 | 99540734 | 116507529 | 118208161 | 111436845 | 120625683 | 122098401 | 90290536
Total Customer Related O&M | 49548688 | 36137127 | 38137811 | 39637686 | 35288249 | 28065969 | 29314028 | 29441788 | 31344179
Total A&G O&M | 161177793 | 152284375 | 140185443 | 148038894 | 148810031 | 135237346 | 157563462 | 151415843 | 119298435
Total A&G O&M excluding benefits | 114139011 | 114227649 | 108015074 | 113240194 | 116655265 | 105838874 | 124554023 | 120935936 | 107862122
Total O&M | 1650900747 | 1605844203 | 1686157941 | 1753091639 | 1696135825 | 1502768853 | 1711848487 | 2523551971 | 1868905214
Total Non-Fuel O&M | 713192739 | 705217404 | 675958347 | 706439779 | 730626696 | 721352158 | 695762411 | 682297992 | 586427766
O&M Expense per Unit or Measure
Total O&M Expense per MWh Sold - Total | 49.25 | 46.72 | 50.87 | 51.18 | 53.19 | 49.23 | 54.5387 | 78.9129 | 61.85
Total O&M Expense per MWh Sold - Total Non-Fuel | 21.28 | 20.52 | 20.39 | 20.62 | 22.91 | 23.63 | 22.1667 | 21.3359 | 19.41
Total O&M Expense per Retail Customer - Total | 2052.54 | 1975.24 | 2057.37 | 2111.47 | 2018.93 | 1763.8 | 1988.2743 | 2863.3516 | 2090.12
Total O&M Expense per Retail Customer - Total Non-Fuel | 886.7 | 867.44 | 824.77 | 850.86 | 869.67 | 846.65 | 808.1127 | 774.1703 | 655.84
Non-Fuel Power Production O&M Expense per MWh Sold | 10.23 | 9.75 | 9.37 | 8.89 | 9.72 | 10.93 | 8.829 | 8.423 | 8.47
Non-Fuel Power Production O&M Expense per MWh Generated | 13.08 | 12.36 | 11.26 | 10.53 | 14.66 | 16 | 14.25 | 13.7376 | 14.1
Transmission O&M Expense per MWh Sold | 1.88 | 2.23 | 2.49 | 2.67 | 3.48 | 3.47 | 3.3709 | 3.2787 | 2.77
Transmission O&M Expense per Transmission Conductor Mile | 11859.44 | 14721.23 | 15563.13 | 17308.5 | 20771.95 | 19987 | 19962.9713 | 19782.9721 | 15821
Distribution O&M Expense per MWh Sold | 2.72 | 2.9 | 3 | 3.4 | 3.71 | 3.65 | 3.84 | 3.8181 | 2.99
Distribution O&M Expense per Distribution Conductor Mile | 2935 | 3195 | 3183 | 3730 | 3780 | 3541 | 3854 | 3827.5361 | 2839
Customer Related O&M Expense per MWh Sold | 1.48 | 1.05 | 1.15 | 1.16 | 1.11 | 0.92 | 0.93393 | 0.92066 | 1.04
Customer Related O&M Expense per Retail Customer | 61.6 | 44.45 | 46.53 | 47.74 | 42 | 32.94 | 34.0476 | 33.4062 | 35.05
Total A&G O&M Expense per MWh Sold (incl. Benefits) | 4.81 | 4.43 | 4.23 | 4.32 | 4.67 | 4.43 | 5.02 | 4.7349 | 3.95
Total A&G O&M Expense per MWh Sold (excl. Benefits) | 3.41 | 3.32 | 3.26 | 3.31 | 3.66 | 3.47 | 3.97 | 3.7817 | 3.57
Total A&G O&M Expense per Retail Customer (incl. Benefits) | 200.39 | 187.31 | 171.05 | 178.3 | 177.13 | 158.73 | 183.0065 | 171.8042 | 133.42
Total A&G O&M Expense per Retail Customer (excl. Benefits) | 141.91 | 140.5 | 131.79 | 136.39 | 138.86 | 124.22 | 144.6668 | 137.2201 | 120.63
Asset Management (in Billions)
Net Plant In Service - Production | 5.5 | 5.3879 | 5.466 | 5.5224 | 5.4147 | 5.3158 | 5.1781 | 4.9687 | 4.8
Net Plant In Service - Transmission | 0.9 | 0.96108 | 1.0805 | 1.2132 | 1.3424 | 1.4473 | 1.5544 | 1.7632 | 1.9
Net Plant In Service - Distribution | 1.5 | 1.6301 | 1.8149 | 2.0283 | 2.3567 | 2.6155 | 2.9001 | 3.2359 | 3.6
Net Plant In Service - Other | 0.2 | 0.23323 | 0.31016 | 0.32132 | 0.37769 | 0.42124 | 0.45507 | 0.59381 | 0.5
Net Plant In Service - Total | 8.1 | 8.2123 | 8.6715 | 9.0852 | 9.4914 | 9.7998 | 10.0877 | 10.5617 | 10.7
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
STAFFING
Employee Turnover Rate
Duke Energy Indiana | 8.38% | 7.9% | 6.77% | 9.2% | 6.57% | 5.59% | 8.5% | 8.95% | 6.57%
Duke Energy Business Services | 6.69% | 10.32% | 7.54% | 5.93% | 11.05% | 5.35% | 8.25% | 10.76% | 8.72%
Total Duke Energy | 6.55% | 9.19% | 6.49% | 5.88% | 11.94% | 5.79% | 7.82% | 9.27% | 7.44%
Employee Age Distribution
18-35 - Duke Energy Indiana | 31.5% | 30.8% | 32.5% | 33% | 32.7% | 31.4% | 29.9% | 32.73% | 31.7%
36-53 - Duke Energy Indiana | 42.7% | 44.6% | 44% | 46% | 47.1% | 47.5% | 48.6% | 47.9% | 48%
54+ - Duke Energy Indiana | 25.8% | 24.5% | 23.5% | 21% | 20.3% | 21.1% | 21.6% | 19.37% | 20.3%
18-35 - Duke Energy Business Services | 19.04% | 19.15% | 20.59% | 21.63% | 22.38% | 20.74% | 20.6% | 21.58% | 21.2%
36-53 - Duke Energy Business Services | 43.71% | 43.83% | 42.75% | 43.06% | 43.48% | 43.23% | 44% | 44.46% | 44.8%
54+ - Duke Energy Business Services | 37.25% | 37.02% | 36.66% | 35.31% | 34.14% | 36.03% | 35.4% | 33.96% | 34%
18-35 - Duke Energy | 22.73% | 23.68% | 24.23% | 25.47% | 26.44% | 24.74% | 24.71% | 26.11% | 25.6%
36-53 - Duke Energy | 41.84% | 42.57% | 41.86% | 41.44% | 42.81% | 43.41% | 44.11% | 44.45% | 45%
54+ - Duke Energy | 35.42% | 33.75% | 33.91% | 33.09% | 30.75% | 31.85% | 31.18% | 29.44% | 29.4%
Females as a Percent of Workforce
Duke Energy Indiana | 10.31% | 10.03% | 11.23% | 11.31% | 11.02% | 10.5% | 11.3% | 11% | 11.2%
Duke Energy Business Services | 34.61% | 34.5% | 34.79% | 34.94% | 34.72% | 34.44% | 34.5% | 34.3% | 32.7%
Total Duke Energy | 22.61% | 22.82% | 22.93% | 23.29% | 23.7% | 23.26% | 23.7% | 23.6% | 23.4%
Minorities as a Percent of Workforce
Duke Energy Indiana | 4.47% | 4.19% | 4.4% | 4.56% | 4.71% | 5.18% | 4.7% | 4.5% | 4.7%
Duke Energy Business Services | 17.04% | 17.04% | 17.98% | 19.05% | 20.15% | 20.25% | 20.5% | 22.2% | 21.8%
Total Duke Energy | 16.31% | 17.2% | 17.58% | 18.37% | 19.33% | 18.96% | 19.3% | 19.9% | 20%
(1) Annual capacity amounts for 2015 - 2022 are reported under the Summer category. Beginning in 2023, the information is now reported separately for each season as a reflection of MISO's change to a Seasonal Accredited Capacity construct.
(2) J.D. Power reports a total combined score for Duke Energy Midwest (Ohio, Kentucky, and Indiana); therefore, what is reported by J.D. Power publicly is different than what is reported above. Duke Energy Indiana specific information can be extracted from the data on years the Company purchases a subscription for the information.
(3) The Average Rate information for 2023 is as of January 1, 2023 per the EEI Winter Typical Bill and Average Rates Report. Note that Figures 38 - 40 in the 2023 Performance Metrics Report include information for 2023 as of both January 1 and July 1, 2023.