## Cover
IURC Cause No. 46038
On Behalf of Duke Energy Indiana, LLC
Workpapers of Jeff Kopp
Workpaper 1-JTK

## A1 B-Line Heights
Table A-1
B-Line Heights
Solar Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
B-Line Heights
Solar Farm
|  | Solar Panel Removal | 1300 | 1400 | 1400 | 0 | 4100 | 0
|  | Panel Supports/Rack | 4000 | 4300 | 0 | 0 | 8300 | 0
|  | Electrical & Wiring | 1000 | 1100 | 0 | 0 | 2100 | 0
|  | Site Restoration | 0 | 0 | 0 | 600 | 600 | 0
|  | On-site Concrete Crushing and Removal | 0 | 0 | 700 | 0 | 700 | 0
|  | Debris | 0 | 0 | 100 | 0 | 100 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -11600
|  | Subtotal | 6300 | 6800 | 2200 | 600 | 15900 | -11600
| B-Line Heights Subtotal |  | 6300 | 6800 | 2200 | 600 | 15900 | -11600
| TOTAL DECOM COST (CREDIT) | [5 empty] | 15900 | -11600
| PROJECT INDIRECTS (10%) | [5 empty] | 1600
| CONTINGENGY (20%) | [5 empty] | 3200
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 20700 | -11600
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 9100

## A2 Camp Atterbury BESS
Table A-2
Camp Atterbury Battery Storage
BESS Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Camp Atterbury Battery Storage
BESS
|  | Battery Storage | 66900 | 51600 | 2700 | 0 | 121200 | 0
|  | Electrical & Wiring | 2300 | 2500 | 0 | 0 | 4800 | 0
|  | Site Restoration | 0 | 0 | 0 | 9000 | 9000 | 0
|  | On-site Concrete Crushing and Removal | 0 | 0 | 800 | 0 | 800 | 0
|  | Debris | 0 | 0 | 100 | 0 | 100 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -10600
|  | Subtotal | 69200 | 54100 | 3600 | 9000 | 135900 | -10600
| Camp Atterbury Battery Storage Subtotal |  | 69200 | 54100 | 3600 | 9000 | 135900 | -10600
| TOTAL DECOM COST (CREDIT) | [5 empty] | 135900 | -10600
| PROJECT INDIRECTS (10%) | [5 empty] | 13600
| CONTINGENGY (20%) | [5 empty] | 27200
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 176700 | -10600
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 166100

## A3 Camp Atterbury Solar
Table A-3
Camp Atterbury Solar
Solar Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Camp Atterbury Solar
Solar Farm
|  | O&M Building | 1400 | 1500 | 0 | 0 | 2900 | 0
|  | Solar Panel Removal | 36700 | 39400 | 7400 | 0 | 83500 | 0
|  | Panel Supports/Rack | 29300 | 31400 | 0 | 0 | 60700 | 0
|  | Electrical & Wiring | 1400 | 1500 | 0 | 0 | 2900 | 0
|  | Site Restoration | 23900 | 25600 | 0 | 28200 | 77700 | 0
|  | On-site Concrete Crushing and Removal | 0 | 0 | 100 | 0 | 100 | 0
|  | Debris | 0 | 0 | 0 | 0 | 0 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -112300
|  | Subtotal | 92700 | 99400 | 7500 | 28200 | 227800 | -112300
| Camp Atterbury Solar Subtotal |  | 92700 | 99400 | 7500 | 28200 | 227800 | -112300
| TOTAL DECOM COST (CREDIT) | [5 empty] | 227800 | -112300
| PROJECT INDIRECTS (10%) | [5 empty] | 22800
| CONTINGENGY (20%) | [5 empty] | 45600
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 296200 | -112300
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 183900

## A4 Cayuga
Table A-4
Cayuga
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Cayuga
Unit 1
|  | Asbestos Removal | 0 | 0 | 0 | 3811000 | 3811000 | 0
|  | Boiler | 2954000 | 4749000 | 0 | 0 | 7703000 | 0
|  | Steam Turbine & Building | 1422000 | 2286000 | 0 | 0 | 3708000 | 0
|  | Precipitators | 539000 | 867000 | 0 | 0 | 1406000 | 0
|  | SCR | 1265000 | 2033000 | 0 | 0 | 3298000 | 0
|  | Scrubber / FGD | 415000 | 667000 | 0 | 0 | 1082000 | 0
|  | Cooling Towers & Basin | 388000 | 623000 | 0 | 0 | 1011000 | 0
|  | Stacks | 161000 | 260000 | 0 | 0 | 421000 | 0
|  | Cooling Water Intakes and Circulating Water Pumps | 47000 | 75000 | 0 | 1041000 | 1163000 | 0
|  | GSU & Foundation | 83000 | 134000 | 0 | 0 | 217000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 202000 | 0 | 202000 | 0
|  | Debris | 0 | 0 | 51000 | 0 | 51000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -9250000
|  | Subtotal | 7274000 | 11694000 | 253000 | 4852000 | 24073000 | -9250000
Unit 2
|  | Asbestos Removal | 0 | 0 | 0 | 3811000 | 3811000 | 0
|  | Boiler | 2954000 | 4749000 | 0 | 0 | 7703000 | 0
|  | Steam Turbine & Building | 1422000 | 2286000 | 0 | 0 | 3708000 | 0
|  | Precipitator | 539000 | 867000 | 0 | 0 | 1406000 | 0
|  | SCR | 1265000 | 2033000 | 0 | 0 | 3298000 | 0
|  | Scrubber / FGD | 415000 | 667000 | 0 | 0 | 1082000 | 0
|  | Cooling Towers & Basin | 388000 | 623000 | 0 | 0 | 1011000 | 0
|  | Stacks | 161000 | 260000 | 0 | 0 | 421000 | 0
|  | Cooling Water Intakes and Circulating Water Pumps | 47000 | 75000 | 0 | 1041000 | 1163000 | 0
|  | GSU & Foundation | 83000 | 134000 | 0 | 0 | 217000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 202000 | 0 | 202000 | 0
|  | Debris | 0 | 0 | 51000 | 0 | 51000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -9250000
|  | Subtotal | 7274000 | 11694000 | 253000 | 4852000 | 24073000 | -9250000
Handling
|  | Coal Handling Facilites | 419000 | 673000 | 0 | 0 | 1092000 | 0
|  | Coal Storage Area Restoration | 0 | 0 | 0 | 5538000 | 5538000 | 0
|  | Limestone Handling Facilities | 148000 | 238000 | 0 | 0 | 386000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 14000 | 0 | 14000 | 0
|  | Debris | 0 | 0 | 104000 | 0 | 104000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -406000
|  | Subtotal | 567000 | 911000 | 118000 | 5538000 | 7134000 | -406000
Common
|  | Switchyard and Substation | 54000 | 87000 | 0 | 0 | 141000 | 0
|  | BOP Misc. | 1078000 | 1733000 | 0 | 0 | 2811000 | 0
|  | Roads | 158000 | 254000 | 0 | 0 | 412000 | 0
|  | All BOP Buildings | 857000 | 1377000 | 0 | 0 | 2234000 | 0
|  | Fuel Equipment | 97000 | 156000 | 0 | 0 | 253000 | 0
|  | All Other Tanks | 836000 | 1344000 | 0 | 0 | 2180000 | 0
|  | Refractory Disposal | 0 | 0 | 0 | 21000 | 21000 | 0
|  | Mercury & Universal Waste Disposal | 0 | 0 | 0 | 50000 | 50000 | 0
|  | Transformer Oil Disposal | 0 | 0 | 0 | 370000 | 370000 | 0
|  | Lube Oil Disposal | 0 | 0 | 0 | 151000 | 151000 | 0
|  | Transformer Pad and Soil removal | 0 | 0 | 0 | 40000 | 40000 | 0
|  | Fuel Oil Tank Cleaning | 0 | 0 | 0 | 26000 | 26000 | 0
|  | Fuel Oil Line Flushing/Cleaning | 0 | 0 | 0 | 4000 | 4000 | 0
|  | Nuclear Device Disposal | 0 | 0 | 0 | 150000 | 150000 | 0
|  | DEI Provided FGD Area Closure and Facility Closure Costs | 0 | 0 | 0 | 57948000 | 57948000 | 0
|  | Process Pond Closure | 0 | 0 | 0 | 7211000 | 7211000 | 0
|  | Plant Washdown & Materials Disposal | 0 | 0 | 0 | 85000 | 85000 | 0
|  | Concrete Removal, Crushing, & Disposal | 0 | 0 | 119000 | 0 | 119000 | 0
|  | Grading & Seeding | 0 | 0 | 0 | 2804000 | 2804000 | 0
|  | Debris | 0 | 0 | 51000 | 0 | 51000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -1911000
|  | Subtotal | 3080000 | 4951000 | 170000 | 68860000 | 77061000 | -1911000
| Cayuga Subtotal |  | 18195000 | 29250000 | 794000 | 84102000 | 132341000 | -20817000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 132341000 | -20817000
| PROJECT INDIRECTS (10%) | [5 empty] | 7439000
| CONTINGENGY (20%) | [5 empty] | 14879000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 154659000 | -20817000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 133842000
* DEI Provided Landfill and Pond Closure Costs not Included in contingency and indirects calculations.

## A5 Cayuga Unit 4
Table A-5
Cayuga Unit 4
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Cayuga Unit 4
Unit 4
|  | CTGs and HRSGs | 197000 | 317000 | 0 | 0 | 514000 | 0
|  | Stacks | 4000 | 6000 | 0 | 0 | 10000 | 0
|  | GSU, Electrical, & Foundation | 46000 | 75000 | 0 | 0 | 121000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 9000 | 0 | 9000 | 0
|  | Debris | 0 | 0 | 11000 | 0 | 11000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -509000
|  | Subtotal | 247000 | 398000 | 20000 | 0 | 665000 | -509000
Common
|  | BOP Misc. | 74000 | 119000 | 0 | 0 | 193000 | 0
|  | Roads | 33000 | 53000 | 0 | 0 | 86000 | 0
|  | All BOP Buildings | 18000 | 29000 | 0 | 0 | 47000 | 0
|  | Fuel Equipment | 62000 | 100000 | 0 | 45000 | 207000 | 0
|  | Mercury & Universal Waste Disposal | 0 | 0 | 0 | 18000 | 18000 | 0
|  | Transformer Pad and Soil Removal | 0 | 0 | 0 | 12000 | 12000 | 0
|  | Lube Oil Disposal | 0 | 0 | 0 | 14000 | 14000 | 0
|  | Transformer Oil Disposal | 0 | 0 | 0 | 53000 | 53000 | 0
|  | Concrete Removal, Crushing, & Disposal | 0 | 0 | 8000 | 0 | 8000 | 0
|  | Grading & Seeding | 0 | 0 | 0 | 223000 | 223000 | 0
|  | Debris | 0 | 0 | 1000 | 0 | 1000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -78000
|  | Subtotal | 187000 | 301000 | 9000 | 365000 | 862000 | -78000
| Cayuga Unit 4 Subtotal |  | 434000 | 699000 | 29000 | 365000 | 1527000 | -587000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 1527000 | -587000
| PROJECT INDIRECTS (10%) | [5 empty] | 153000
| CONTINGENGY (20%) | [5 empty] | 305000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 1985000 | -587000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 1398000

## A6 Crane Battery
Table A-6
Crane Battery Storage
BESS Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Crane Battery Storage
BESS
|  | Battery Storage | 67300 | 52000 | 9500 | 0 | 128800 | 0
|  | Electrical & Wiring | 3200 | 3400 | 0 | 0 | 6600 | 0
|  | Site Restoration | 0 | 0 | 0 | 21500 | 21500 | 0
|  | On-site Concrete Crushing and Removal | 0 | 0 | 900 | 0 | 900 | 0
|  | Debris | 0 | 0 | 100 | 0 | 100 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -15100
|  | Subtotal | 70500 | 55400 | 10500 | 21500 | 157900 | -15100
| Crane Battery Storage Subtotal |  | 70500 | 55400 | 10500 | 21500 | 157900 | -15100
| TOTAL DECOM COST (CREDIT) | [5 empty] | 157900 | -15100
| PROJECT INDIRECTS (10%) | [5 empty] | 15800
| CONTINGENGY (20%) | [5 empty] | 31600
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 205300 | -15100
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 190200

## A7 Crane Solar
Table A-7
Crane Solar
Solar Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | ACM Disposal | Environmental | Total Cost | Scrap Value
Crane Solar
Solar Farm
|  | O&M Building | 1200 | 1300 | 0 | 0 | 0 | 2500 | 0
|  | Solar Panel Removal | 386600 | 414200 | 58900 | 0 | 0 | 859700 | 0
|  | Panel Supports/Rack | 237400 | 254300 | 0 | 0 | 0 | 491700 | 0
|  | Electrical & Wiring | 30600 | 32800 | 0 | 0 | 0 | 63400 | 0
|  | Site Restoration | 79300 | 85000 | 0 | 0 | 221900 | 386200 | 0
|  | On-site Concrete Crushing and Removal | 0 | 0 | 900 | 0 | 0 | 900 | 0
|  | Debris | 0 | 0 | 900 | 0 | 0 | 900 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | 0 | -765700
|  | Subtotal | 735100 | 787600 | 60700 | 0 | 221900 | 1805300 | -765700
| Crane Solar Subtotal |  | 735100 | 787600 | 60700 | 0 | 221900 | 1805300 | -765700
| TOTAL DECOM COST (CREDIT) | [6 empty] | 1805300 | -765700
| PROJECT INDIRECTS (10%) | [6 empty] | 180500
| CONTINGENGY (20%) | [6 empty] | 361100
| TOTAL PROJECT COST (CREDIT) | [6 empty] | 2346900 | -765700
| TOTAL NET PROJECT COST (CREDIT) | [6 empty] | 1581200

## A8 Edwardsport
Table A-8
Edwardsport
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Edwardsport
Unit 1
|  | Gasification Island | 3162000 | 5083000 | 0 | 0 | 8245000 | 0
|  | CTGs and HRSGs | 1867000 | 3002000 | 0 | 0 | 4869000 | 0
|  | ST, Pedestal & Building | 669000 | 1075000 | 0 | 0 | 1744000 | 0
|  | SCR | 72000 | 116000 | 0 | 0 | 188000 | 0
|  | Air Seperation Unit | 859000 | 1381000 | 0 | 0 | 2240000 | 0
|  | Stacks | 74000 | 119000 | 0 | 0 | 193000 | 0
|  | Cooling Water Intakes and Circulating Water Pumps | 93000 | 150000 | 0 | 502000 | 745000 | 0
|  | GSU & Foundation | 139000 | 223000 | 0 | 0 | 362000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 166000 | 0 | 166000 | 0
|  | Debris | 0 | 0 | 16000 | 0 | 16000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -8778000
|  | Subtotal | 6935000 | 11149000 | 182000 | 502000 | 18768000 | -8778000
Handling
|  | Coal Handling Facilites | 1195000 | 1921000 | 0 | 0 | 3116000 | 0
|  | Coal Storage Area Restoration | 0 | 0 | 0 | 3293000 | 3293000 | 0
|  | Rail | 763000 | 1226000 | 0 | 0 | 1989000 | 0
|  | Coal Yard Transformers | 19000 | 30000 | 0 | 0 | 49000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 79000 | 0 | 79000 | 0
|  | Debris | 0 | 0 | 4000 | 0 | 4000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -384000
|  | Subtotal | 1977000 | 3177000 | 83000 | 3293000 | 8530000 | -384000
Common
|  | Water Treatment Equipment and Piping | 323000 | 519000 | 0 | 0 | 842000 | 0
|  | BOP Misc. | 699000 | 1123000 | 0 | 0 | 1822000 | 0
|  | Roads | 243000 | 390000 | 0 | 0 | 633000 | 0
|  | All BOP Buildings | 1598000 | 2568000 | 0 | 0 | 4166000 | 0
|  | All Other Tanks | 58000 | 94000 | 0 | 0 | 152000 | 0
|  | Transformers, Electrical, & Foundation | 64000 | 103000 | 0 | 0 | 167000 | 0
|  | Mercury & Universal Waste Disposal | 0 | 0 | 0 | 76000 | 76000 | 0
|  | Transformer Oil Disposal | 0 | 0 | 0 | 441000 | 441000 | 0
|  | Lube Oil Disposal | 0 | 0 | 0 | 84000 | 84000 | 0
|  | Transformer Pad and Soil Removal | 0 | 0 | 0 | 64000 | 64000 | 0
|  | Oil/Water Separator Vaults & Tanks | 0 | 0 | 0 | 121000 | 121000 | 0
|  | Well Closure | 0 | 0 | 0 | 4000 | 4000 | 0
|  | DEI Provided Closure Area Costs | 0 | 0 | 0 | 1250000 | 1250000 | 0
|  | Process Water Pond Closure | 0 | 0 | 0 | 6851000 | 6851000 | 0
|  | Closure of Coal Runoff Pond | 0 | 0 | 0 | 1070000 | 1070000 | 0
|  | Cooling Towers and Basin | 899000 | 1445000 | 0 | 0 | 2344000 | 0
|  | Plant Washdown & Materials Disposal | 0 | 0 | 0 | 77000 | 77000 | 0
|  | Concrete Removal, Crushing, & Disposal | 0 | 0 | 267000 | 0 | 267000 | 0
|  | Grading & Seeding | 0 | 0 | 0 | 5541000 | 5541000 | 0
|  | Debris | 0 | 0 | 98000 | 0 | 98000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -2296000
|  | Subtotal | 3884000 | 6242000 | 365000 | 15579000 | 26070000 | -2296000
| Edwardsport Subtotal |  | 12796000 | 20568000 | 630000 | 19374000 | 53368000 | -11458000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 53368000 | -11458000
| PROJECT INDIRECTS (10%) | [5 empty] | 5212000
| CONTINGENGY (20%) | [5 empty] | 10424000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 69004000 | -11458000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 57546000
* DEI Provided Closure Costs are not included in the calculation of Indirects or Contingency.

## A9 Gallagher
Table A-9
Gallagher
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Gallagher
Unit 1
|  | Asbestos Removal | 0 | 0 | 0 | 502000 | 502000 | 0
|  | Boiler | 996000 | 1601000 | 0 | 0 | 2597000 | 0
|  | Steam Turbine & Building | 342000 | 550000 | 0 | 0 | 892000 | 0
|  | Baghouse | 63000 | 101000 | 0 | 0 | 164000 | 0
|  | Stacks | 143000 | 230000 | 0 | 0 | 373000 | 0
|  | GSU & Foundation | 21000 | 34000 | 0 | 0 | 55000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 86000 | 0 | 86000 | 0
|  | Debris | 0 | 0 | 18000 | 0 | 18000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -2568000
|  | Subtotal | 1565000 | 2516000 | 104000 | 502000 | 4687000 | -2568000
Unit 2
|  | Asbestos Removal | 0 | 0 | 0 | 502000 | 502000 | 0
|  | Boiler | 997000 | 1602000 | 0 | 0 | 2599000 | 0
|  | Steam Turbine & Building | 342000 | 550000 | 0 | 0 | 892000 | 0
|  | Baghouse | 63000 | 101000 | 0 | 0 | 164000 | 0
|  | Stacks | 143000 | 230000 | 0 | 0 | 373000 | 0
|  | GSU & Foundation | 21000 | 34000 | 0 | 0 | 55000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 86000 | 0 | 86000 | 0
|  | Debris | 0 | 0 | 18000 | 0 | 18000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -2569000
|  | Subtotal | 1566000 | 2517000 | 104000 | 502000 | 4689000 | -2569000
Unit 3
|  | Asbestos Removal | 0 | 0 | 0 | 502000 | 502000 | 0
|  | Boiler | 997000 | 1602000 | 0 | 0 | 2599000 | 0
|  | Steam Turbine & Building | 342000 | 550000 | 0 | 0 | 892000 | 0
|  | Baghouse | 63000 | 101000 | 0 | 0 | 164000 | 0
|  | Stacks | 143000 | 230000 | 0 | 0 | 373000 | 0
|  | GSU & Foundation | 6000 | 9000 | 0 | 0 | 15000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 86000 | 0 | 86000 | 0
|  | Debris | 0 | 0 | 18000 | 0 | 18000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -2433000
|  | Subtotal | 1551000 | 2492000 | 104000 | 502000 | 4649000 | -2433000
Unit 4
|  | Asbestos Removal | 0 | 0 | 0 | 502000 | 502000 | 0
|  | Boiler | 996000 | 1601000 | 0 | 0 | 2597000 | 0
|  | Steam Turbine & Building | 342000 | 550000 | 0 | 0 | 892000 | 0
|  | Baghouse | 63000 | 101000 | 0 | 0 | 164000 | 0
|  | Stacks | 143000 | 230000 | 0 | 0 | 373000 | 0
|  | GSU & Foundation | 40000 | 64000 | 0 | 0 | 104000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 86000 | 0 | 86000 | 0
|  | Debris | 0 | 0 | 18000 | 0 | 18000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -2735000
|  | Subtotal | 1584000 | 2546000 | 104000 | 502000 | 4736000 | -2735000
Handling
|  | Coal Handling Facilites | 23000 | 38000 | 0 | 0 | 61000 | 0
|  | Coal Storage Area Restoration | 0 | 0 | 0 | 1542000 | 1542000 | 0
|  | Limestone Handling Facilities | 1000 | 1000 | 0 | 0 | 2000 | 0
|  | Debris | 0 | 0 | 1000 | 0 | 1000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -40000
|  | Subtotal | 24000 | 39000 | 1000 | 1542000 | 1606000 | -40000
Common
|  | Switchyard and Substation | 60000 | 97000 | 0 | 0 | 157000 | 0
|  | Cooling Water Intakes and Circulating Water Pumps | 27000 | 43000 | 0 | 434000 | 504000 | 0
|  | BOP Misc. | 69000 | 111000 | 0 | 0 | 180000 | 0
|  | Roads | 57000 | 91000 | 0 | 0 | 148000 | 0
|  | All BOP Buildings | 454000 | 731000 | 0 | 0 | 1185000 | 0
|  | Fuel Equipment | 77000 | 124000 | 0 | 0 | 201000 | 0
|  | All Other Tanks | 79000 | 127000 | 0 | 0 | 206000 | 0
|  | Refractory Disposal | 0 | 0 | 0 | 33000 | 33000 | 0
|  | Mercury & Universal Waste Disposal | 0 | 0 | 0 | 45000 | 45000 | 0
|  | Plant Washdown & Materials Disposal | 0 | 0 | 0 | 65000 | 65000 | 0
|  | Lube Oil Disposal | 0 | 0 | 0 | 116000 | 116000 | 0
|  | Transformer Oil Dispsoal | 0 | 0 | 0 | 98000 | 98000 | 0
|  | Transformer Pad and Soil Removal | 0 | 0 | 0 | 3000 | 3000 | 0
|  | Fuel Oil Tank Cleaning | 0 | 0 | 0 | 11000 | 11000 | 0
|  | Fuel Oil Line Flushing/Cleaning | 0 | 0 | 0 | 5000 | 5000 | 0
|  | Dirt Backfill | 0 | 0 | 0 | 1849000 | 1849000 | 0
|  | Mooring Cell Removal | 653000 | 1049000 | 0 | 0 | 1702000 | 0
|  | Process Water Pond Closure | 0 | 0 | 0 | 1835000 | 1835000 | 0
|  | Hazardous Waste Disposal | 0 | 0 | 0 | 78000 | 78000 | 0
|  | Concrete Removal, Crushing, & Disposal | 0 | 0 | 38000 | 0 | 38000 | 0
|  | Grading & Seeding | 0 | 0 | 0 | 2944000 | 2944000 | 0
|  | Debris | 0 | 0 | 7000 | 0 | 7000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -565000
|  | Subtotal | 1476000 | 2373000 | 45000 | 7516000 | 11410000 | -565000
| Gallagher Subtotal |  | 7766000 | 12483000 | 462000 | 11066000 | 31777000 | -10910000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 31777000 | -10910000
| PROJECT INDIRECTS (10%) | [5 empty] | 3178000
| CONTINGENGY (20%) | [5 empty] | 6355000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 41310000 | -10910000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 30400000
* DEI Provided Landfill and Pond Closure Costs not Included in contingency and indirects calculations.
Note on C144: Sandven, Kory: Similar to Sanford but ST rating is 489MW here whereas Stanford is 352MW.

## A10 Gibson
Table A-10
Gibson
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Gibson
Unit 1
|  | Asbestos Removal | 0 | 0 | 0 | 288000 | 288000 | 0
|  | Boiler | 2971000 | 4776000 | 0 | 0 | 7747000 | 0
|  | Steam Turbine & Building | 1005000 | 1615000 | 0 | 0 | 2620000 | 0
|  | Precipitators | 939000 | 1509000 | 0 | 0 | 2448000 | 0
|  | SCR | 1499000 | 2410000 | 0 | 0 | 3909000 | 0
|  | Scrubber / FGD | 466000 | 749000 | 0 | 0 | 1215000 | 0
|  | Stacks | 201000 | 323000 | 0 | 0 | 524000 | 0
|  | Cooling Water Intakes and Circulating Water Pumps | 23000 | 36000 | 0 | 0 | 59000 | 0
|  | GSU & Foundation | 106000 | 171000 | 0 | 0 | 277000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 172000 | 0 | 172000 | 0
|  | Debris | 0 | 0 | 67000 | 0 | 67000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -9714000
|  | Subtotal | 7210000 | 11589000 | 239000 | 288000 | 19326000 | -9714000
Unit 2
|  | Asbestos Removal | 0 | 0 | 0 | 288000 | 288000 | 0
|  | Boiler | 2972000 | 4777000 | 0 | 0 | 7749000 | 0
|  | Steam Turbine & Building | 1005000 | 1615000 | 0 | 0 | 2620000 | 0
|  | Precipitator | 939000 | 1509000 | 0 | 0 | 2448000 | 0
|  | SCR | 1499000 | 2410000 | 0 | 0 | 3909000 | 0
|  | Scrubber / FGD | 466000 | 749000 | 0 | 0 | 1215000 | 0
|  | Stacks | 201000 | 323000 | 0 | 0 | 524000 | 0
|  | Cooling Water Intakes and Circulating Water Pumps | 23000 | 36000 | 0 | 0 | 59000 | 0
|  | GSU & Foundation | 113000 | 181000 | 0 | 0 | 294000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 172000 | 0 | 172000 | 0
|  | Debris | 0 | 0 | 67000 | 0 | 67000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -9759000
|  | Subtotal | 7218000 | 11600000 | 239000 | 288000 | 19345000 | -9759000
Unit 3
|  | Asbestos Removal | 0 | 0 | 0 | 288000 | 288000 | 0
|  | Boiler | 2938000 | 4722000 | 0 | 0 | 7660000 | 0
|  | Steam Turbine & Building | 1021000 | 1642000 | 0 | 0 | 2663000 | 0
|  | Precipitator | 939000 | 1509000 | 0 | 0 | 2448000 | 0
|  | SCR | 1499000 | 2410000 | 0 | 0 | 3909000 | 0
|  | Scrubber / FGD | 466000 | 749000 | 0 | 0 | 1215000 | 0
|  | Stacks | 276000 | 444000 | 0 | 0 | 720000 | 0
|  | Cooling Water Intakes and Circulating Water Pumps | 23000 | 36000 | 0 | 0 | 59000 | 0
|  | GSU & Foundation | 91000 | 146000 | 0 | 0 | 237000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 270000 | 0 | 270000 | 0
|  | Debris | 0 | 0 | 67000 | 0 | 67000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -9532000
|  | Subtotal | 7253000 | 11658000 | 337000 | 288000 | 19536000 | -9532000
Unit 4
|  | Asbestos Removal | 0 | 0 | 0 | 288000 | 288000 | 0
|  | Boiler | 2938000 | 4722000 | 0 | 0 | 7660000 | 0
|  | Steam Turbine & Building | 1021000 | 1642000 | 0 | 0 | 2663000 | 0
|  | Precipitator | 939000 | 1509000 | 0 | 0 | 2448000 | 0
|  | SCR | 1499000 | 2410000 | 0 | 0 | 3909000 | 0
|  | Scrubber / FGD | 886000 | 1424000 | 0 | 0 | 2310000 | 0
|  | Stacks | 146000 | 235000 | 0 | 0 | 381000 | 0
|  | Cooling Water Intakes and Circulating Water Pumps | 23000 | 36000 | 0 | 0 | 59000 | 0
|  | GSU & Foundation | 86000 | 138000 | 0 | 0 | 224000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 205000 | 0 | 205000 | 0
|  | Debris | 0 | 0 | 67000 | 0 | 67000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -9730000
|  | Subtotal | 7538000 | 12116000 | 272000 | 288000 | 20214000 | -9730000
Unit 5
|  | Asbestos Removal | 0 | 0 | 0 | 288000 | 288000 | 0
|  | Boiler | 2937000 | 4721000 | 0 | 0 | 7658000 | 0
|  | Steam Turbine & Building | 1021000 | 1642000 | 0 | 0 | 2663000 | 0
|  | Precipitator | 939000 | 1509000 | 0 | 0 | 2448000 | 0
|  | SCR | 1499000 | 2410000 | 0 | 0 | 3909000 | 0
|  | Scrubber / FGD | 3850000 | 6189000 | 0 | 0 | 10039000 | 0
|  | Stacks | 126000 | 203000 | 0 | 0 | 329000 | 0
|  | Cooling Water Intakes and Circulating Water Pumps | 23000 | 37000 | 0 | 0 | 60000 | 0
|  | GSU & Foundation | 105000 | 169000 | 0 | 0 | 274000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 404000 | 0 | 404000 | 0
|  | Debris | 0 | 0 | 67000 | 0 | 67000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -10182000
|  | Subtotal | 10500000 | 16880000 | 471000 | 288000 | 28139000 | -10182000
Handling
|  | Coal Handling Facilites | 1331000 | 2139000 | 0 | 0 | 3470000 | 0
|  | Coal Storage Area Restoration | 0 | 0 | 0 | 13819000 | 13819000 | 0
|  | Limestone Handling Facilities | 760000 | 1222000 | 0 | 0 | 1982000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 95000 | 0 | 95000 | 0
|  | Debris | 0 | 0 | 127000 | 0 | 127000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -1060000
|  | Subtotal | 2091000 | 3361000 | 222000 | 13819000 | 19493000 | -1060000
Common
|  | Switchyard and Substation | 42000 | 68000 | 0 | 0 | 110000 | 0
|  | BOP Misc. | 282000 | 453000 | 0 | 0 | 735000 | 0
|  | Roads | 528000 | 849000 | 0 | 0 | 1377000 | 0
|  | All BOP Buildings | 1798000 | 2889000 | 0 | 0 | 4687000 | 0
|  | Fuel Equipment | 505000 | 812000 | 0 | 0 | 1317000 | 0
|  | All Other Tanks | 715000 | 1149000 | 0 | 0 | 1864000 | 0
|  | Transformers & Foundation | 9000 | 14000 | 0 | 0 | 23000 | 0
|  | Refractory Disposal | 0 | 0 | 0 | 52000 | 52000 | 0
|  | Mercury & Universal Waste Disposal | 0 | 0 | 0 | 10000 | 10000 | 0
|  | Plant Washdown & Materials Disposal | 0 | 0 | 0 | 88000 | 88000 | 0
|  | Lube Oil | 0 | 0 | 0 | 425000 | 425000 | 0
|  | Transformer Oil Disposal | 0 | 0 | 0 | 611000 | 611000 | 0
|  | Transformer Pad and Soil Removal | 0 | 0 | 0 | 305000 | 305000 | 0
|  | Fuel Oil Tank Cleaning | 0 | 0 | 0 | 47000 | 47000 | 0
|  | Closure of Deep Wells | 0 | 0 | 0 | 287000 | 287000 | 0
|  | DEI Provided Landfill and CCR Closure Costs | 0 | 0 | 0 | 55049000 | 55049000 | 0
|  | Process Water Pond Closure Costs | 0 | 0 | 0 | 12851000 | 12851000 | 0
|  | Cooling Pond Closure | 0 | 0 | 0 | 130523000 | 130523000 | 0
|  | Concrete Removal, Crushing, & Disposal | 0 | 0 | 176000 | 0 | 176000 | 0
|  | Grading & Seeding | 0 | 0 | 0 | 6518000 | 6518000 | 0
|  | Debris | 0 | 0 | 74000 | 0 | 74000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -1424000
|  | Subtotal | 3879000 | 6234000 | 250000 | 206766000 | 217129000 | -1424000
| Gibson Subtotal |  | 45689000 | 73438000 | 2030000 | 222025000 | 343182000 | -51401000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 343182000 | -51401000
| PROJECT INDIRECTS (10%) | [5 empty] | 28813000
| CONTINGENGY (20%) | [5 empty] | 57627000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 429622000 | -51401000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 378221000
* DEI Provided Closure Costs are not Included in contingency and indirects calculations.

## A11 Henry County
Table A-11
Henry County
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Henry County
Unit 1
|  | CTGs and HRSGs | 87000 | 140000 | 0 | 0 | 227000 | 0
|  | Stacks | 3000 | 5000 | 0 | 0 | 8000 | 0
|  | GSU & Foundation | 9000 | 14000 | 0 | 0 | 23000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 3000 | 0 | 3000 | 0
|  | Debris | 0 | 0 | 1000 | 0 | 1000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -297000
|  | Subtotal | 99000 | 159000 | 4000 | 0 | 262000 | -297000
Unit 2
|  | CTGs and HRSGs | 87000 | 140000 | 0 | 0 | 227000 | 0
|  | Stacks | 3000 | 5000 | 0 | 0 | 8000 | 0
|  | GSU & Foundation | 9000 | 14000 | 0 | 0 | 23000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 3000 | 0 | 3000 | 0
|  | Debris | 0 | 0 | 1000 | 0 | 1000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -297000
|  | Subtotal | 99000 | 159000 | 4000 | 0 | 262000 | -297000
Unit 3
|  | CTGs and HRSGs | 87000 | 140000 | 0 | 0 | 227000 | 0
|  | Stacks | 3000 | 5000 | 0 | 0 | 8000 | 0
|  | GSU & Foundation | 9000 | 14000 | 0 | 0 | 23000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 3000 | 0 | 3000 | 0
|  | Debris | 0 | 0 | 1000 | 0 | 1000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -297000
|  | Subtotal | 99000 | 159000 | 4000 | 0 | 262000 | -297000
Common
|  | Switchyard and Substation | 5000 | 9000 | 0 | 0 | 14000 | 0
|  | BOP Misc. | 15000 | 25000 | 0 | 0 | 40000 | 0
|  | Roads | 17000 | 27000 | 0 | 0 | 44000 | 0
|  | All BOP Buildings | 334000 | 537000 | 0 | 0 | 871000 | 0
|  | All Other Tanks | 76000 | 122000 | 0 | 0 | 198000 | 0
|  | Transformers & Foundation | 35000 | 55000 | 0 | 0 | 90000 | 0
|  | Closure of Deep Wells | 0 | 0 | 0 | 9000 | 9000 | 0
|  | Pond Closure | 0 | 0 | 0 | 904000 | 904000 | 0
|  | Cooling Towers and Basin | 87000 | 140000 | 0 | 0 | 227000 | 0
|  | Hazardous Waste Disposal | 0 | 0 | 0 | 103000 | 103000 | 0
|  | Concrete Removal, Crushing, & Disposal | 0 | 0 | 35000 | 0 | 35000 | 0
|  | Grading & Seeding | 0 | 0 | 0 | 171000 | 171000 | 0
|  | Debris | 0 | 0 | 5000 | 0 | 5000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -179000
|  | Subtotal | 569000 | 915000 | 40000 | 1187000 | 2711000 | -179000
| Henry County Subtotal |  | 866000 | 1392000 | 52000 | 1187000 | 3497000 | -1070000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 3497000 | -1070000
| PROJECT INDIRECTS (10%) | [5 empty] | 350000
| CONTINGENGY (20%) | [5 empty] | 699000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 4546000 | -1070000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 3476000

## A12 Madison
Table A-12
Madison
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Madison
Units 1-8
|  | CTGs and HRSGs | 1427000 | 1541000 | 0 | 0 | 2968000 | 0
|  | Stacks | 35000 | 38000 | 0 | 0 | 73000 | 0
|  | GSU, Electrical, & Foundation | 377000 | 407000 | 0 | 0 | 784000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 35000 | 0 | 35000 | 0
|  | Debris | 0 | 0 | 11000 | 0 | 11000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -4396000
|  | Subtotal | 1839000 | 1986000 | 46000 | 0 | 3871000 | -4396000
Common
|  | Switchyard and Substation | 68000 | 73000 | 0 | 0 | 141000 | 0
|  | BOP Misc. | 7000 | 8000 | 0 | 0 | 15000 | 0
|  | Roads | 77000 | 83000 | 0 | 0 | 160000 | 0
|  | All BOP Buildings | 44000 | 48000 | 0 | 0 | 92000 | 0
|  | Fuel Equipment | 9000 | 10000 | 0 | 0 | 19000 | 0
|  | All Other Tanks | 46000 | 50000 | 0 | 0 | 96000 | 0
|  | Mercury & Universal Waste Disposal | 0 | 0 | 0 | 17000 | 17000 | 0
|  | Lube Oil Disposal | 0 | 0 | 0 | 38000 | 38000 | 0
|  | Transformer Oil Disposal | 0 | 0 | 0 | 164000 | 164000 | 0
|  | Transformer Pad and Soil Removal | 0 | 0 | 0 | 110000 | 110000 | 0
|  | Pond Closure | 0 | 0 | 0 | 193000 | 193000 | 0
|  | Concrete Removal, Crushing, & Disposal | 0 | 0 | 4000 | 0 | 4000 | 0
|  | Grading & Seeding | 0 | 0 | 0 | 719000 | 719000 | 0
|  | Debris | 0 | 0 | 19000 | 0 | 19000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -116000
|  | Subtotal | 251000 | 272000 | 23000 | 1241000 | 1787000 | -116000
| Madison Subtotal |  | 2090000 | 2258000 | 69000 | 1241000 | 5658000 | -4512000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 5658000 | -4512000
| PROJECT INDIRECTS (10%) | [5 empty] | 566000
| CONTINGENGY (20%) | [5 empty] | 1132000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 7356000 | -4512000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 2844000

## A13 Markland Hydro
Table A-13
Markland Hydro
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Markland Hydro
Hydro Units
|  | Demolition | 668000 | 695000 | 0 | 0 | 1363000 | 0
|  | BOP Buildings | 6000 | 7000 | 0 | 0 | 13000 | 0
|  | Debris | 0 | 0 | 2000 | 0 | 2000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -769000
|  | Subtotal | 674000 | 702000 | 2000 | 0 | 1378000 | -769000
Common
|  | Mercury & Universal Waste Disposal | 0 | 0 | 0 | 12000 | 12000 | 0
|  | Transformer Oil Disposal | 0 | 0 | 0 | 18000 | 18000 | 0
|  | Transformer Pad and Soil Removal | 0 | 0 | 0 | 8000 | 8000 | 0
|  | Wells | 0 | 0 | 0 | 4000 | 4000 | 0
|  | Flowable Fill | 0 | 0 | 0 | 1946000 | 1946000 | 0
|  | Mooring Cell and Debris Dam Removal | 63000 | 75000 | 0 | 0 | 138000 | 0
|  | Subtotal | 63000 | 75000 | 0 | 1988000 | 2126000 | 0
| Markland Hydro Subtotal |  | 737000 | 777000 | 2000 | 1988000 | 3504000 | -769000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 3504000 | -769000
| PROJECT INDIRECTS (10%) | [5 empty] | 350000
| CONTINGENGY (20%) | [5 empty] | 701000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 4555000 | -769000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 3786000

## A14 Nabb
Table A-14
Nabb
Battery Storage Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Nabb
Battery Storage
|  | O&M Building | 1500 | 1600 | 0 | 0 | 3100 | 0
|  | Battery Storage | 50300 | 49400 | 19800 | 0 | 119500 | 0
|  | Electrical & Wiring | 5800 | 6200 | 0 | 0 | 12000 | 0
|  | Site Restoration | 1600 | 1700 | 0 | 1600 | 4900 | 0
|  | On-site Concrete Crushing and Removal | 0 | 0 | 900 | 0 | 900 | 0
|  | Debris | 0 | 0 | 300 | 0 | 300 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -30600
|  | Subtotal | 59200 | 58900 | 21000 | 1600 | 140700 | -30600
| Nabb Subtotal |  | 59200 | 58900 | 21000 | 1600 | 140700 | -30600
| TOTAL DECOM COST (CREDIT) | [5 empty] | 140700 | -30600
| PROJECT INDIRECTS (10%) | [5 empty] | 14100
| CONTINGENGY (20%) | [5 empty] | 28100
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 182900 | -30600
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 152300

## A15 Noblesville
Table A-15
Noblesville
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Noblesville
Unit 1
|  | CTGs and HRSGs | 877000 | 1409000 | 0 | 0 | 2286000 | 0
|  | Steam Turbine & Building | 613000 | 985000 | 0 | 0 | 1598000 | 0
|  | SCR | 53000 | 86000 | 0 | 0 | 139000 | 0
|  | Cooling Towers & Basin | 243000 | 390000 | 0 | 0 | 633000 | 0
|  | Cooling Water Intakes and Circulating Water Pumps | 51000 | 81000 | 0 | 629000 | 761000 | 0
|  | GSU & Foundation | 144000 | 232000 | 0 | 0 | 376000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 51000 | 0 | 51000 | 0
|  | Debris | 0 | 0 | 7000 | 0 | 7000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -3665000
|  | Subtotal | 1981000 | 3183000 | 58000 | 629000 | 5851000 | -3665000
Unit A
|  | Asbestos Removal | 0 | 0 | 0 | 142000 | 142000 | 0
|  | Boiler | 434000 | 698000 | 0 | 0 | 1132000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 4000 | 0 | 4000 | 0
|  | Debris | 0 | 0 | 17000 | 0 | 17000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -586000
|  | Subtotal | 434000 | 698000 | 21000 | 142000 | 1295000 | -586000
Unit B
|  | Asbestos Removal | 0 | 0 | 0 | 142000 | 142000 | 0
|  | Boiler | 434000 | 698000 | 0 | 0 | 1132000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 4000 | 0 | 4000 | 0
|  | Debris | 0 | 0 | 17000 | 0 | 17000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -586000
|  | Subtotal | 434000 | 698000 | 21000 | 142000 | 1295000 | -586000
Unit C
|  | Asbestos Removal | 0 | 0 | 0 | 142000 | 142000 | 0
|  | Boiler | 424000 | 681000 | 0 | 0 | 1105000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 4000 | 0 | 4000 | 0
|  | Debris | 0 | 0 | 17000 | 0 | 17000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -570000
|  | Subtotal | 424000 | 681000 | 21000 | 142000 | 1268000 | -570000
Common
|  | Switchyard and Substation | 86000 | 139000 | 0 | 0 | 225000 | 0
|  | BOP Misc. | 15000 | 23000 | 0 | 0 | 38000 | 0
|  | Roads | 39000 | 62000 | 0 | 0 | 101000 | 0
|  | All BOP Buildings | 85000 | 137000 | 0 | 0 | 222000 | 0
|  | All Other Tanks | 53000 | 85000 | 0 | 0 | 138000 | 0
|  | Mercury & Universal Waste Disposal | 0 | 0 | 0 | 25000 | 25000 | 0
|  | Lube Oil Disposal | 0 | 0 | 0 | 63000 | 63000 | 0
|  | Transformer Oil Disposal | 0 | 0 | 0 | 287000 | 287000 | 0
|  | Transformer Pad and Soil Removal | 0 | 0 | 0 | 76000 | 76000 | 0
|  | Soil Remediation Beneath Fuel Oil Tank | 0 | 0 | 0 | 15000 | 15000 | 0
|  | Well Closure | 0 | 0 | 0 | 5000 | 5000 | 0
|  | DEI Provided Ash Consolidation Cost | 0 | 0 | 0 | 5912000 | 5912000 | 0
|  | Process Water Pond Closure | 0 | 0 | 0 | 2006000 | 2006000 | 0
|  | Low Head Dam Removal | 0 | 0 | 0 | 763000 | 763000 | 0
|  | Concrete Removal, Crushing, & Disposal | 0 | 0 | 9000 | 0 | 9000 | 0
|  | Grading & Seeding | 0 | 0 | 0 | 426000 | 426000 | 0
|  | Debris | 0 | 0 | 36000 | 0 | 36000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -160000
|  | Subtotal | 278000 | 446000 | 45000 | 9578000 | 10347000 | -160000
| Noblesville Subtotal |  | 3551000 | 5706000 | 166000 | 10633000 | 20056000 | -5567000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 20056000 | -5567000
| PROJECT INDIRECTS (10%) | [5 empty] | 1414000
| CONTINGENGY (20%) | [5 empty] | 2829000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 24299000 | -5567000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 18732000
* DEI Provided Cost is not included in the calculation of Indirects or Contingency.
Note on C119: Sandven, Kory: Similar to Sanford but ST rating is 489MW here whereas Stanford is 352MW.

## A16 Purdue
Table A-16
Purdue
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Purdue
Unit 1
|  | Gas Turbine & Building | 281000 | 451000 | 0 | 0 | 732000 | 0
|  | Stacks | 59000 | 96000 | 0 | 0 | 155000 | 0
|  | Cooling Water Intakes and Circulating Water Pumps | 6000 | 9000 | 0 | 0 | 15000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 9000 | 0 | 9000 | 0
|  | Debris | 0 | 0 | 4000 | 0 | 4000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -440000
|  | Subtotal | 346000 | 556000 | 13000 | 0 | 915000 | -440000
Common
|  | BOP Misc. | 36000 | 58000 | 0 | 0 | 94000 | 0
|  | Roads | 2000 | 3000 | 0 | 0 | 5000 | 0
|  | All Other Tanks | 13000 | 20000 | 0 | 0 | 33000 | 0
|  | Transformers & Foundation | 9000 | 15000 | 0 | 0 | 24000 | 0
|  | Concrete Removal, Crushing, & Disposal | 0 | 0 | 2000 | 0 | 2000 | 0
|  | Grading & Seeding | 0 | 0 | 0 | 34000 | 34000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -114000
|  | Subtotal | 60000 | 96000 | 2000 | 34000 | 192000 | -114000
| Purdue Subtotal |  | 406000 | 652000 | 15000 | 34000 | 1107000 | -554000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 1107000 | -554000
| PROJECT INDIRECTS (10%) | [5 empty] | 111000
| CONTINGENGY (20%) | [5 empty] | 221000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 1439000 | -554000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 885000
Note on C81: Sandven, Kory: Similar to Sanford but ST rating is 489MW here whereas Stanford is 352MW.

## A17 Tippecanoe
Table A-17
Tippecanoe
Solar Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Tippecanoe
Solar Farm
|  | Solar Panel Removal | 30200 | 32300 | 12700 | 0 | 75200 | 0
|  | Panel Supports/Rack | 29100 | 31100 | 0 | 0 | 60200 | 0
|  | Electrical & Wiring | 7400 | 7900 | 0 | 0 | 15300 | 0
|  | Site Restoration | 11300 | 12100 | 0 | 18300 | 41700 | 0
|  | On-site Concrete Crushing and Removal | 0 | 0 | 100 | 0 | 100 | 0
|  | Debris | 0 | 0 | 300 | 0 | 300 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -271200
|  | Subtotal | 78000 | 83400 | 13100 | 18300 | 192800 | -271200
| Tippecanoe Subtotal |  | 78000 | 83400 | 13100 | 18300 | 192800 | -271200
| TOTAL DECOM COST (CREDIT) | [5 empty] | 192800 | -271200
| PROJECT INDIRECTS (10%) | [5 empty] | 19300
| CONTINGENGY (20%) | [5 empty] | 38600
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 250700 | -271200
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | -20500

## A18 Vermillion
Table A-18
Vermillion
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Vermillion
Unit 1 - 8
|  | CTGs and HRSGs | 1285000 | 2066000 | 0 | 0 | 3351000 | 0
|  | Stacks | 32000 | 51000 | 0 | 0 | 83000 | 0
|  | GSU, Electrical, & Foundation | 333000 | 536000 | 0 | 0 | 869000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 42000 | 0 | 42000 | 0
|  | Debris | 0 | 0 | 13000 | 0 | 13000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -4234000
|  | Subtotal | 1650000 | 2653000 | 55000 | 0 | 4358000 | -4234000
Common
|  | Switchyard and Substation | 56000 | 90000 | 0 | 0 | 146000 | 0
|  | BOP Misc. | 10000 | 16000 | 0 | 0 | 26000 | 0
|  | Roads | 50000 | 81000 | 0 | 0 | 131000 | 0
|  | All BOP Buildings | 43000 | 69000 | 0 | 0 | 112000 | 0
|  | Fuel Equipment | 8000 | 13000 | 0 | 0 | 21000 | 0
|  | All Other Tanks | 41000 | 66000 | 0 | 0 | 107000 | 0
|  | Mercury & Universal Waste Disposal | 0 | 0 | 0 | 19000 | 19000 | 0
|  | Lube Oil | 0 | 0 | 0 | 46000 | 46000 | 0
|  | Transformer Oil Disposal | 0 | 0 | 0 | 209000 | 209000 | 0
|  | Transformer Pad and Soil Removal & Disposal | 0 | 0 | 0 | 134000 | 134000 | 0
|  | Concrete Removal, Crushing, & Disposal | 0 | 0 | 5000 | 0 | 5000 | 0
|  | Grading & Seeding | 0 | 0 | 0 | 733000 | 733000 | 0
|  | Debris | 0 | 0 | 22000 | 0 | 22000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -109000
|  | Subtotal | 208000 | 335000 | 27000 | 1141000 | 1711000 | -109000
| Vermillion Subtotal |  | 1858000 | 2988000 | 82000 | 1141000 | 6069000 | -4343000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 6069000 | -4343000
| PROJECT INDIRECTS (10%) | [5 empty] | 607000
| CONTINGENGY (20%) | [5 empty] | 1214000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 7890000 | -4343000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 3547000

## A19 Wabash
Table A-20
Washbash River Station
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Wabash River Station
Common
|  | DEI Provided CCR Closure Project Costs |  |  | 0 | 11250000 | 11250000 | 0
|  | Subtotal | 0 | 0 | 0 | 11250000 | 11250000 | 0
| Wheatland Subtotal |  | 0 | 0 | 0 | 11250000 | 11250000 | 0
| TOTAL DECOM COST (CREDIT) | [5 empty] | 11250000 | 0
| PROJECT INDIRECTS (0%) | [5 empty] | 0
| CONTINGENGY (0%) | [5 empty] | 0
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 11250000 | 0
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 11250000
Note on C66: Sandven, Kory: Similar to Sanford but ST rating is 489MW here whereas Stanford is 352MW.

## A20 Wheatland
Table A-19
Wheatland
Decommissioning Cost Summary
|  |  | Labor | Material and Equipment | Disposal | Environmental | Total Cost | Scrap Value
Wheatland
Unit 1-4
|  | CTs | 868000 | 1395000 | 0 | 0 | 2263000 | 0
|  | GSUs, Electrical & Foundation | 104000 | 168000 | 0 | 0 | 272000 | 0
|  | On-site Concrete Crushing & Disposal | 0 | 0 | 14000 | 0 | 14000 | 0
|  | Debris | 0 | 0 | 11000 | 0 | 11000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -2645000
|  | Subtotal | 972000 | 1563000 | 25000 | 0 | 2560000 | -2645000
Common
|  | Switchyard and Substation | 20000 | 32000 | 0 | 0 | 52000 | 0
|  | BOP Misc. | 2000 | 4000 | 0 | 0 | 6000 | 0
|  | Roads | 36000 | 58000 | 0 | 0 | 94000 | 0
|  | All BOP Buildings | 49000 | 78000 | 0 | 0 | 127000 | 0
|  | Fuel Equipment | 5000 | 8000 | 0 | 0 | 13000 | 0
|  | All Other Tanks | 109000 | 175000 | 0 | 0 | 284000 | 0
|  | Transformers & Foundation | 4000 | 7000 | 0 | 0 | 11000 | 0
|  | Concrete Removal, Crushing, & Disposal | 0 | 0 | 8000 | 0 | 8000 | 0
|  | Grading & Seeding | 0 | 0 | 0 | 502000 | 502000 | 0
|  | Debris | 0 | 0 | 5000 | 0 | 5000 | 0
|  | Scrap | 0 | 0 | 0 | 0 | 0 | -140000
|  | Subtotal | 225000 | 362000 | 13000 | 502000 | 1102000 | -140000
| Wheatland Subtotal |  | 1197000 | 1925000 | 38000 | 502000 | 3662000 | -2785000
| TOTAL DECOM COST (CREDIT) | [5 empty] | 3662000 | -2785000
| PROJECT INDIRECTS (10%) | [5 empty] | 366000
| CONTINGENGY (20%) | [5 empty] | 732000
| TOTAL PROJECT COST (CREDIT) | [5 empty] | 4760000 | -2785000
| TOTAL NET PROJECT COST (CREDIT) | [5 empty] | 1975000
Note on C84: Sandven, Kory: Similar to Sanford but ST rating is 489MW here whereas Stanford is 352MW.