## Cover Page
Cause No. 45609 SEI-1 S1
Indiana American Water Company
Attachment DH-1

## DH-1 Summary Information
Indiana American Water Company
Cause No. 45609 SEI-1 S1 2022 - SEI Replacement Projects BENCH REQUEST
SEI REPLACEMENT PROJECTS SUMMARY
Attachment DH-1 Summary Information
Line |  |  |  |  | COST
Number |  | Project Number | Project Description | In-Service Date | Additions | Cost of Removals | Salvage | Retirement | CIAC | Total Net
1 | WATER | R10-01K3.19-P-4031 | MOR Filtration Plant | 2022-05-31 | 172430.46 | 0 | 0 | 0 | 0 | 172430.46
2 | WATER | T10-0185-P-1000 | SIOTC Backwash Improvements | 2021-12-22 | 27091.5 | 0 | 0 | 0 | 0 | 27091.5
3 | WATER | T10-0184-P-1000 | SIO Charleston WTF Improvements | 2022-06-29 | 103039.69 | 0 | 0 | 0 | 0 | 103039.69
4 | WATER | R10-70Q1.21-P-0030 | NWI BP Chlorine Improvements | 2022-06-17 | 41292.68 | 4218.4 | 0 | -4111.65 | 0 | 41399.43
5 | WATER | R10-70Q1.20-P-0019 | TH Rework High Service Pump#17 | 2020-12-29 | 26700.93 | 2720.7 | 0 | -8226.65 | 0 | 21194.98
6 | WATER | R10-70Q1.20-P-0016 | Replace Motor on TH HIgh Serv Pump | 2021-01-28 | 17083.64 | 1642.78 | 0 | -14312.95 | 0 | 4413.47
7 | WATER | R10-70Q1.20-P-0023 | Rebuilt Pump#1 at Allendale Booster | 2020-12-29 | 11761.26 | 1232.2 | 0 | -395.49 | 0 | 12597.97
8 | WATER | R10-47Q1.21-P-0014 | Well 13 bearings, pump, clean | 2021-12-29 | 58457.26 | 12753.38 | 0 | -15034.52 | 0 | 56176.12
9 | WATER | R10-47Q1.22-P-0002 | DF well 15 pump replacement | 2022-05-26 | 44752.04 | 17830.8 | 0 | -10083.56 | 0 | 52499.28
10 | WATER | R10-47Q1.21-P-0020 | HH well 11 rpl pump bowl/sec of pip | 2021-12-29 | 19701.67 | 4294 | 0 | -3687.01 | 0 | 20308.66
11 | WATER | R10-47Q1.20-P-0017 | DF high service pump #2 | 2020-10-29 | 9616.38 | 2055.8 | 0 | -11965.56 | 0 | -293.38
12 | WATER | R10-47Q1.20-P-0016 | HH high serv pump #2 | 2020-10-29 | 8857.67 | 1893.6 | 0 | -6708.28 | 0 | 4042.99
13 | WATER | R10-47Q1.21-P-0019 | Mac Allister generator batteries | 2022-04-28 | 8757.52 | 2003.68 | 0 | -9914.76 | 0 | 846.44
14 | WATER | R10-47Q1.20-P-0011 | DF Well #16 | 2020-06-29 | 0 | 1983 | 0 | -3989.09 | 0 | -2006.09
15 | WATER | R10-47Q1.21-P-0011 | DF cla vlv rpr HSP#1 | 2021-10-27 | 8524.93 | 859.52 | 0 | -859.5 | 0 | 8524.95
16 | WATER | R10-47Q1.21-P-0009 | BBC repair backwash pump | 2021-05-26 | 7425.74 | 1667.42 | 0 | -1453.94 | 0 | 7639.22
17 | WATER | R10-47Q1.22-P-0003 | DF well 13 VFD Rpl | 2022-04-28 | 6643 | 1550 | 0 | -2621.73 | 0 | 5571.27
18 | WATER | R10-47Q1.20-P-0008 | HH hig pressure rel valve | 2020-06-29 | 0 | 1039.49 | 0 | 0 | 0 | 1039.49
19 | WATER | R10-47Q1.22-P-0007 | Living Waters DF hypo pump | 2022-05-26 | 2126.98 | 487.32 | 0 | -498.46 | 0 | 2115.84
20 | WATER | R10-47Q1.21-P-0018 | Rotork parts for DF | 2022-04-28 | 2347.62 | 521.93 | 0 | -937.08 | 0 | 1932.47
22 | WATER | R10-90Q1.20-P-0020 | B.P. Backwash Improvements | 2020-12-21 | 293975.6 | 13889.71 | 0 | 0 | 0 | 307865.31
23 | WATER | R10-90Q1.20-P-0038 | BP HS6 Discharge Piping Replacement | 2022-04-26 | 121751.41 | 32098.04 | 0 | -96566.76 | 0 | 57282.69
24 | WATER | R10-90Q1.20-P-0011 | Repl Basin Drain Pump-BP | 2021-01-28 | 87129.92 | 50321.64 | 0 | -5322.06 | 0 | 132129.5
25 | WATER | R10-90Q1.21-P-0005 | Low Service #3 OD Pump Rebuild | 2022-06-15 | 75619.83 | 15920.94 | 0 | -64325.78 | 0 | 27214.99
26 | WATER | R10-90Q1.20-P-0059 | Manual Transfer Switch Generator BP | 2021-02-05 | 66220.48 | 6692 | 0 | -7309.14 | 0 | 65603.34
27 | WATER | R10-90Q1.20-P-0034 | O.D. Backwash Pump 3 Actuator | 2020-11-05 | 65876 | 2991.2 | 0 | -34078.98 | 0 | 34788.22
28 | WATER | R10-90Q1.20-P-0029 | B.P. Replace Shaft and Bearings #7 | 2020-11-24 | 44895.13 | 40669.81 | 0 | -7183.41 | 0 | 78381.53
29 | WATER | R10-90Q1.21-P-0002 | Phosphate Pump Replacement | 2021-08-13 | 40817.29 | 1885.99 | 0 | 0 | 0 | 42703.28
30 | WATER | R10-90Q1.21-P-0007 | 5 MGD HS Pump OD | 2021-04-14 | 33301.29 | 1561.03 | 0 | 0 | 0 | 34862.32
31 | WATER | R10-90Q1.20-P-0032 | 65th & Miss. #3 Pump Seals | 2020-09-14 | 21749.68 | 3179.29 | 0 | -4133.92 | 0 | 20795.05
32 | WATER | R10-90Q1.21-P-0031 | NWI 13th & Jennings; | 2022-04-29 | 20164.4 | 4507.34 | 0 | -13700.79 | 0 | 10970.95
33 | WATER | R10-90Q1.20-P-0023 | B.P. #7 H.S. Actuator | 2020-12-30 | 17378.02 | 15705.49 | 0 | -2538.21 | 0 | 30545.3
34 | WATER | R10-90Q1.21-P-0054 | MLK Motor Bearing Rebuild | 2022-05-17 | 16865.07 | 1299.63 | 0 | -12725.09 | 0 | 5439.61
35 | WATER | R10-90Q1.21-P-0045 | Vacuum System OD | 2022-04-26 | 16243.52 | 3999.93 | 0 | -6596.53 | 0 | 13646.92
36 | WATER | R10-90Q1.21-P-0016 | Basin Pump Support and Drive Shaft | 2021-07-14 | 15908.22 | 3281.73 | 0 | 0 | 0 | 19189.95
37 | WATER | R10-01L6.20-P-0012 | Floc VFD Replacement Project | 2020-12-04 | 15901.79 | 735 | 0 | -10618.21 | 0 | 6018.58
38 | WATER | R10-90Q1.21-P-0008 | Replace Bearings Blower OD | 2021-05-17 | 15832 | 750.38 | 0 | -827.06 | 0 | 15755.32
39 | WATER | R10-90Q1.20-P-0043 | Pre Chlorine Booster Pump and Drive | 2021-02-01 | 15285.36 | 2245.22 | 0 | -1261.86 | 0 | 16268.72
40 | WATER | R10-90Q1.20-P-0036 | Turbidimeters - OD | 2020-11-30 | 11809.26 | 10460.1 | 0 | -7488.86 | 0 | 14780.5
41 | WATER | R10-90Q1.21-P-0009 | Rapid Mix OD Motor Rebuild | 2021-06-14 | 11777.64 | 549.75 | 0 | 0 | 0 | 12327.39
42 | WATER | R10-90Q1.21-P-0023 | MLK Pump 3 Motor Refurb | 2021-07-14 | 9474.55 | 2037.28 | 0 | 0 | 0 | 11511.83
43 | WATER | R10-90Q1.20-P-0028 | O.D. Recycler 36" Valve Step Replac | 2020-07-30 | 9179.91 | 8299.67 | 0 | -4095.3 | 0 | 13384.28
44 | WATER | R10-01L6.20-P-0017 | Recycle VFD Comm Replacements | 2020-12-07 | 7639.53 | 354.93 | 0 | -4330.4 | 0 | 3664.06
45 | WATER | R10-90Q1.21-P-0028 | Pump 1 VFD Replacement Shorewood | 2021-09-07 | 7183.03 | 394.5 | 0 | 0 | 0 | 7577.53
46 | WATER | R10-90Q1.20-P-0060 | Soft Start 41st Carolina | 2020-12-03 | 7168.94 | 342.5 | 0 | -192.37 | 0 | 7319.07
47 | WATER | R10-90Q1.20-P-0049 | Check Valve Pump 2 Miller | 2021-02-05 | 6726.02 | 308.99 | 0 | -302.66 | 0 | 6732.35
48 | WATER | R10-90Q1.21-P-0033 | Packing Replacement OD Floc | 2021-09-07 | 6369.72 | 303.95 | 0 | 0 | 0 | 6673.67
49 | WATER | R10-90Q1.21-P-0048 | Rotork Actuator Replace OD Recycle | 2022-04-12 | 5750.21 | 671.4 | 0 | -3444.57 | 0 | 2977.04
50 | WATER | R10-90Q1.20-P-0007 | Raw Water Turbidimeter - BP | 2020-11-30 | 5639.25 | 0 | 0 | 0 | 0 | 5639.25
51 | WATER | R10-90Q1.20-P-0031 | B.P. Fluoride/Ammonia Pumps | 2020-07-30 | 5296.69 | 4758.58 | 0 | -2520.39 | 0 | 7534.88
52 | WATER | R10-90Q1.20-P-0042 | Flouride Sensor and Pump Upgrades | 2020-12-14 | 4993.87 | 232.75 | 0 | -2828.2 | 0 | 2398.42
53 | WATER | R10-90Q1.21-P-0029 | Replacement Vacuum Prime Ball Check | 2021-10-12 | 4792.41 | 375.83 | 0 | 0 | 0 | 5168.24
54 | WATER | R10-90Q1.21-P-0035 | Pump 3 41st Carolina Rebuild | 2021-09-07 | 4613.18 | 220.15 | 0 | 0 | 0 | 4833.33
55 | WATER | R10-90Q1.19-P-0067 | Chlorine Analyzers - OD | 2020-08-31 | 4442.03 | 4189.4 | 0 | -3241.86 | 0 | 5389.57
56 | WATER | R10-90Q1.20-P-0054 | BP/OD Analyzers | 2021-01-30 | 4428.26 | 3751.98 | 0 | -5502.18 | 0 | 2678.06
57 | WATER | R10-90Q1.20-P-0024 | B.P. Lab Analyzers | 2020-07-30 | 3212.74 | 0 | 0 | 0 | 0 | 3212.74
58 | WATER | R10-60Q1.20-P-0037 | Pressure Transducer Rpl Stony Crk B | 2020-10-28 | 4224.05 | 37.91 | 0 | 0 | 0 | 4261.96
59 | WATER | R10-60Q1.20-P-0049 | Wells 7 - 8 PLC Replace RW | 2021-01-22 | 4078.64 | 326.28 | 0 | -3975.23 | 0 | 429.69
60 | WATER | R10-45Q1.20-P-0004 | High Service Pump Replace Somerset | 2020-08-26 | 23343.12 | 2324.2 | 0 | -1234.84 | 0 | 24432.48
61 | WATER | R10-45Q1.21-P-0011 | Well pump replacements Wabash plant | 2022-01-26 | 19066.18 | 1839.7 | 0 | -2740.78 | 0 | 18165.1
62 | WATER | R10-80Q1.21-P-0002 | Filter 2 Actuators | 2021-06-16 | 28357.62 | 8549.07 | 0 | -5839.9 | 0 | 31066.79
63 | WATER | R10-80Q1.20-P-0002 | Filter 1 Actuators | 2020-07-09 | 26920.16 | 2707.3 | 0 | -1544.55 | 0 | 28082.91
64 | WATER | R10-80Q1.20-P-0003 | HS #3 Motor | 2020-07-09 | 21759.6 | 3436.5 | 0 | -1840.61 | 0 | 23355.49
65 | WATER | R10-80Q1.20-P-0011 | Well #2 Pump & Pipe | 2020-12-24 | 14848.87 | 4541.5 | 0 | -3596.03 | 0 | 15794.34
66 | WATER | R10-80Q1.20-P-0008 | Well #1Motor | 2020-08-28 | 8918.54 | 2659.13 | 0 | -2659.13 | 0 | 8918.54
67 | WATER | R10-80Q1.20-P-0010 | Well #1 Pump | 2020-12-24 | 7821.82 | 1775.11 | 0 | -1761.43 | 0 | 7835.5
68 | WATER | R10-80Q1.21-P-0005 | Well #1 Motor | 2021-08-12 | 7349.93 | 2233 | 0 | -2553.21 | 0 | 7029.72
69 | WATER | R10-80Q1.21-P-0006 | Well #1 Capacitor Bank | 2021-11-29 | 6315.1 | 1916.31 | 0 | -969.06 | 0 | 7262.35
70 | WATER | R10-80Q1.22-P-0006 | Fluoride Room Relocation | 2022-06-23 | 4587.46 | 1056.5 | 0 | -2324.75 | 0 | 3319.21
71 | WATER | R10-01Q1.21-P-0007 | NBG Clearwell Bypass (Zube) | Est 5/28/22 | 74124.52 | 0 | 0 | 0 | 0 | 74124.52
72 | WATER | R10-85Q1.21-P-0005 | Filter Valve Replacement | 2021-11-23 | 24518.97 | 3911.99 | 0 | -353.67 | 0 | 28077.29
73 | WATER | R10-85Q1.21-P-0010 | RPL Pump Well #3 | 2021-10-25 | 13200.19 | 2100.9 | 0 | -5529.63 | 0 | 9771.46
74 | WATER | R10-85Q1.20-P-0009 | RPL Water Line Chemical Feed Buildi | 2020-12-28 | 10549.48 | 486.01 | 0 | -5931.16 | 0 | 5104.33
75 | WATER | R10-85Q1.20-P-0010 | Electrical upgrade for Filters | 2020-12-28 | 7573.29 | 343.16 | 0 | -3217.69 | 0 | 4698.76
76 | WATER | R10-85Q1.21-P-0013 | Well #1 Pump Replacement | 2022-01-19 | 6861.3 | 665.5 | 0 | -3601.66 | 0 | 3925.14
77 | WATER | R10-85Q1.21-P-0006 | RPL Backwash Meter | 2021-09-23 | 5338.57 | 1824.14 | 0 | -3767 | 0 | 3395.71
78 | WATER | R10-85Q1.22-P-0005 | NEW Lab Spectrophotometer for water | 2022-03-29 | 4880.2 | 0 | 0 | 0 | 0 | 4880.2
79 | WATER | R10-85Q1.21-P-0009 | RPL Water Line Chemical Feed Bldg | 2021-10-25 | 5299.01 | 249.25 | 0 | -2402.3 | 0 | 3145.96
80 | WATER | R10-85Q1.20-P-0002 | RPL Effluent Valve | 2021-02-16 | 4284.11 | 681.3 | 0 | -2227.42 | 0 | 2737.99
81 | WATER | R10-75Q1.19-P-0016 | Replace 4 filter Flow control valve | 2020-11-01 | 348121.82 | 1673.78 | 0 | 0 | 0 | 349795.6
82 | WATER | R10-75Q1.20-P-0010 | Charlestown Well field Electrical | 2021-02-01 | 120951.96 | 0 | 0 | 0 | 0 | 120951.96
83 | WATER | R10-75Q1.20-P-0009 | Atkins MCC | 2020-11-01 | 84012.55 | 47793.09 | 0 | -13636.96 | 0 | 118168.68
84 | WATER | R10-55Q1.22-P-0005 | New motor for well 1 East side | 2022-05-04 | 14100.12 | 693.53 | 0 | -10133.48 | 0 | 4660.17
85 | WATER | R10-55Q1.20-P-0022 | WRE 2 new pump column and check val | 2020-12-21 | 11780.98 | 565.8 | 0 | -4289.55 | 0 | 8057.23
86 | WATER | R10-55Q1.20-P-0007 | Replace WRE well 2 motor | 2020-06-30 | 0 | 501.35 | 0 | 0 | 0 | 501.35
87 | WATER | R10-55Q1.21-P-0026 | New pump for well 1 Sugar Creek | 2021-12-29 | 9675.87 | 444.55 | 0 | -5908.08 | 0 | 4212.34
88 | WATER | R10-55Q1.20-P-0012 | London Rd well 4 pump repair | 2020-06-30 | 0 | 431.68 | 0 | 0 | 0 | 431.68
89 | WATER | R10-55Q1.21-P-0016 | New VFD for Marlin Well 5 | 2021-11-10 | 7691.99 | 364.65 | 0 | -6749.8 | 0 | 1306.84
90 | WATER | R10-55Q1.21-P-0024 | New motor for Marlin well 5 | 2021-12-29 | 5945.25 | 273.15 | 0 | 0 | 0 | 6218.4
91 | WATER | R10-55Q1.21-P-0007 | London Rd Well 3 Pump | 2021-06-16 | 5793.98 | 278.6 | 0 | -12290.82 | 0 | -6218.24
92 | WATER | R10-55Q1.20-P-0011 | Replaced Well pump WRE 3 | 2020-06-23 | 0 | 289.4 | 0 | 0 | 0 | 289.4
93 | WATER | R10-55Q1.22-P-0003 | New west well 1 pump | 2022-03-01 | 5068.48 | 245.25 | 0 | -3186 | 0 | 2127.73
94 | WATER | R10-55Q1.21-P-0019 | Repair #6 well pump | 2021-12-29 | 4526.68 | 215.25 | 0 | -2801.64 | 0 | 1940.29
95 | WATER | R10-55Q1.20-P-0010 | Replace check valve well3 WR East | 2020-06-23 | 0 | 192.1 | 0 | 0 | 0 | 192.1
96 | WATER | R10-65Q1.20-P-0011 | Replace High Service #3 at BRWTP | 2020-09-18 | 20689.79 | 1105.86 | 0 | -4496.91 | 0 | 17298.74
97 | WATER | R10-65Q1.20-P-0012 | Replace High Service #1 Motor at BR | 2020-10-05 | 9709.37 | 346.4 | 0 | -683.16 | 0 | 9372.61
98 | WATER | R10-65Q1.20-P-0017 | Replace pump and column pipe on Wel | 2021-02-16 | 7409.07 | 591.92 | 0 | -3791.05 | 0 | 4209.94
99 | WATER | R10-65Q1.20-P-0009 | Replace Pump on Well #4 | 2020-10-05 | 6310.26 | 344.88 | 0 | -5002.07 | 0 | 1653.07
100 | WATER | R10-25Q1.21-P-0011 | Low Service & G st Roads | 2021-12-08 | 23779.7 | 2321.05 | 0 | 0 | 0 | 26100.75
101 | WATER | R10-50Q1.20-P-0006 | Replace Flow Meters at MCO at wells | 2020-11-05 | 31862.06 | 3008.8 | 0 | -283.75 | 0 | 34587.11
102 | WATER | R10-50Q1.20-P-0004 | Replace Aerator Pipe MCO | 2020-09-29 | 12315.46 | 1145.85 | 0 | -4460.79 | 0 | 9000.52
103 | WATER | R10-50Q1.20-P-0008 | Aerator Replacement Tubing Liabilit | 2020-12-28 | 11172.55 | 1140.53 | 0 | -654.1 | 0 | 11658.98
104 | WATER | R10-50Q1.21-P-0012 | MCO WEll#1 Rpr Pump/REpl Column Pip | 2021-11-30 | 8133.59 | 816.5 | 0 | -343.44 | 0 | 8606.65
105 | WATER | R10-50Q1.21-P-0009 | 4" DeZurik Butterfly valves repl WA | 2021-09-28 | 3460.41 | 346.16 | 0 | -124.31 | 0 | 3682.26
106 | WATER | R10-50Q1.22-P-0004 | Rebuild Aertor Blower on Aerator | 2022-05-25 | 3578.54 | 364.86 | 0 | -155.51 | 0 | 3787.89
108 | WATER | R10-70Q1.20-P-0022 | Repl TH High Serv #17 starter w/VFD | 2021-06-15 | 49773.78 | 4904.75 | 0 | -8208.09 | 0 | 46470.44
109 | WATER | R10-70Q1.20-P-0024 | Upgrade/Replace TH hoist/cranes ins | 2021-01-28 | 23060.9 | 2334.89 | 0 | 0 | 0 | 25395.79
110 | WATER | R10-70Q1.20-P-0004 | Repl 2 Rotork Actuator-C#3 Influent | 2020-08-14 | 19275.23 | 1943.31 | 0 | -8853.67 | 0 | 12364.87
111 | WATER | R10-70Q1.21-P-0019 | Repl Peerless Pmp Shrine Hill Bstr | 2021-12-30 | 18134.98 | 1804.37 | 0 | -210.74 | 0 | 19728.61
112 | WATER | R10-70Q1.21-P-0018 | Rpl Sull Well #5 Pump | 2021-09-29 | 15050.56 | 1526.71 | 0 | -3162.2 | 0 | 13415.07
113 | WATER | R10-70Q1.20-P-0006 | Repl Ammonium Sulf Feed Pump#2 T.H. | 2020-12-29 | 11463.59 | 1085.23 | 0 | -1165.62 | 0 | 11383.2
114 | WATER | R10-70Q1.20-P-0011 | Repl Lift Station Pump TH Plant | 2020-06-25 | -1.3642e-12 | 1101.99 | 0 | 0 | 0 | 1101.99
115 | WATER | R10-70Q1.21-P-0013 | Rpl aged Rotork Actuator /Basins 3& | 2021-12-01 | 10514.15 | 1050 | 0 | -1050 | 0 | 10514.15
116 | WATER | R10-70Q1.20-P-0018 | TH Repl rotork actuator for cell#1 | 2020-12-29 | 9764.63 | 995.5 | 0 | -493.49 | 0 | 10266.64
117 | WATER | R10-70Q1.20-P-0015 | Replace TH Lab Incubator | 2020-11-03 | 8044.86 | 765.38 | 0 | -4717.24 | 0 | 4093
118 | WATER | R10-70Q1.20-P-0012 | Repl Cla-Valve Farmersburg | 2020-09-10 | 5729.15 | 581.87 | 0 | -164.97 | 0 | 6146.05
119 | WATER | R10-70Q1.22-P-0002 | Rpl flow trans pressure filter #5 T | 2022-03-30 | 2467.43 | 251.67 | 0 | -190.23 | 0 | 2528.87
120 | WATER | R10-70Q1.22-P-0006 | Rpl damaged flouride tank trns pmp | 2022-04-28 | 1571.82 | 159.77 | 0 | 0 | 0 | 1731.59
121 | WATER | R10-70Q1.22-P-0005 | Spare trns pmp for phosphate tanks | 2022-04-28 | 1124.23 | 116.59 | 0 | 0 | 0 | 1240.82
122 | WATER | R10-70Q1.22-P-0016 | New PAPR resp sys chang chlor cylin | 2022-05-27 | 483.91 | 0 | 0 | 0 | 0 | 483.91
123 | WATER | R10-47Q1.21-P-0003 | DF Living waters OSEC B pack genera | 2021-05-26 | 29955.03 | 6799.44 | 0 | -11159.61 | 0 | 25594.86
124 | WATER | R10-47Q1.20-P-0015 | DF Hypo Unit pack generator | 2020-11-24 | 28686.13 | 10196.33 | 0 | 0 | 0 | 38882.46
125 | WATER | R10-47Q1.20-P-0019 | HH analyzer repl pump & parts | 2020-10-29 | 3403.49 | 727.6 | 0 | -666.09 | 0 | 3465
133 | WATER | R10-90Q1.21-P-0018 | BP Low Service Actuators | 2021-12-15 | 88190.66 | 4038.74 | 0 | -10280.39 | 0 | 81949.01
134 | WATER | R10-90Q1.20-P-0010 | Coagulant Upgrade - OD | 2020-11-24 | 51903.82 | 30472.88 | 0 | -255.56 | 0 | 82121.14
135 | WATER | R10-01L6.20-P-0015 | Shorewood PLC Replacement | 2021-02-08 | 48177.29 | 4558.05 | 0 | -4184.33 | 0 | 48551.01
137 | WATER | R10-90Q1.20-P-0033 | O.D. Residual Pumps | 2020-11-24 | 9029.51 | 8033.12 | 0 | -3664.48 | 0 | 13398.15
138 | WATER | R10-01L6.20-P-0010 | Control Panel Removal and Installat | 2021-02-02 | 7273.27 | 715.49 | 0 | -2227.33 | 0 | 5761.43
139 | WATER | R10-90Q1.20-P-0047 | Electrical Upgrade Replace Cloth Wi | 2020-11-11 | 6994.22 | 324.6 | 0 | -3879.08 | 0 | 3439.74
140 | WATER | R10-10Q1.20-P-0062 | Carbon Exchange | 2020-12-21 | 94002.37 | 3548.05 | 0 | -75057.54 | 0 | 22492.88
141 | WATER | R10-10Q1.21-P-0047 | Russiaville Media Replacement | 2021-12-21 | 58050.69 | 36264.5 | 0 | -63.77 | 0 | 94251.42
142 | WATER | R10-01Q1.19-P-0012 | NOB/TER Well Electrolysis Investiga | 2020-10-26 | 127046.94 | 0 | 0 | 0 | 0 | 127046.94
143 | WATER | R10-60Q1.21-P-0014 | Backwash Pump & Motor Rpl Wayne St | 2022-03-24 | 45456.47 | 1284.33 | 0 | -27819.8 | 0 | 18921
144 | WATER | R10-60Q1.20-P-0022 | Exterior Conduit Relo/Repl WRN WTF | 2020-05-19 | 0 | 0 | 0 | 0 | 0 | 0
145 | WATER | R10-60Q1.20-P-0016 | Filter 1 Eff Valve Rpl Wayne St WTF | 2020-05-19 | 0 | 0 | 0 | 0 | 0 | 0
146 | WATER | R10-60Q1.20-P-0031 | Packing Drain Rpl Screen Inst W1,3, | 2020-07-28 | 13757.42 | 3520 | 0 | -4293.97 | 0 | 12983.45
147 | WATER | R10-60Q1.21-P-0016 | CL Scrubber Discharge Sensor Rpl WR | 2021-07-29 | 10560.89 | 727.23 | 0 | 0 | 0 | 11288.12
148 | WATER | R10-60Q1.21-P-0003 | BS Flow Meter Replace Connor St | 2021-03-29 | 10202.2 | 1255.21 | 0 | -743 | 0 | 10714.41
149 | WATER | R10-60Q1.21-P-0002 | RW Well 8 VFD Replacement | 2021-03-29 | 9785 | 463.45 | 0 | -6020.07 | 0 | 4228.38
150 | WATER | R10-60Q1.22-P-0010 | Wayne St WTF - Hypo Bldg RestRm Hea | 2022-06-27 | 6426.23 | 804.13 | 0 | -5988.74 | 0 | 1241.62
151 | WATER | R10-60Q1.21-P-0009 | Well 8 Motor Replacement RW | 2021-02-23 | 4831.39 | 379.92 | 0 | -535.5 | 0 | 4675.81
152 | WATER | R10-60Q1.21-P-0008 | Well 4 Motor Replacement WR | 2021-02-23 | 4831.39 | 379.92 | 0 | -7651.33 | 0 | -2440.02
153 | WATER | R10-60Q1.20-P-0028 | Chlorine Booster Pump Replace WRN | 2020-06-24 | 0 | 253.94 | 0 | -1734.61 | 0 | -1480.67
154 | WATER | R10-60Q1.20-P-0040 | Pump 1 VFD Rpl Stony Creek BS | 2020-09-28 | 3445.49 | 1881.54 | 0 | -1369.76 | 0 | 3957.27
155 | WATER | R10-60Q1.20-P-0032 | Packing Drain Rpl Screen Instl W 7, | 2020-08-26 | 3067.67 | 828 | 0 | -1173.55 | 0 | 2722.12
156 | WATER | R10-60Q1.22-P-0011 | WRN Well #1 â€“ Motor REPL | 2022-05-25 | 2630.77 | 946.4 | 0 | -3380 | 0 | 197.17
167 | WATER | R10-45Q1.21-P-0006 | Lagoon Valve Replacement Plant 1 | 2021-07-23 | 30367.67 | 7008.06 | 0 | -533.84 | 0 | 36841.89
168 | WATER | R10-45Q1.22-P-0006 | Control Panel Rpl Office Generator | 2022-04-27 | 1128.84 | 10.67 | 0 | -616.47 | 0 | 523.04
169 | WATER | R10-46Q1.20-P-0003 | Repl. East Aeration blower motor | 2020-05-07 | 0 | 0 | 0 | 0 | 0 | 0
170 | WATER | R10-46Q1.20-P-0007 | Repl. Backflow PRZ fill station | 2020-11-16 | 6509.68 | 4234.15 | 0 | -2607.1 | 0 | 8136.73
171 | WATER | R10-01L1.20-P-0011 | Warsaw Fiber Modem Replacement | 2021-02-25 | 5858.38 | 193.99 | 0 | -604.81 | 0 | 5447.56
172 | WATER | R10-46Q1.20-P-0010 | Rpl Backwash pump #1 VFD | 2020-10-15 | 5035.93 | 2491.71 | 0 | -4077.58 | 0 | 3450.06
173 | WATER | R10-01Q1.20-P-0005 | NBG NTOC Filter #1 Media Replacemen | 2020-06-09 | 0 | 0 | 0 | 0 | 0 | 0
174 | WATER | R10-80Q1.21-P-0008 | Potassium Permanganate Tank Scale | 2021-10-28 | 5367.59 | 2006.77 | 0 | -3490.35 | 0 | 3884.01
175 | WATER | R10-01Q1.21-P-0002 | NPDES Outfall Construction (Zube) | Est 5/27/22 | 82346.34 | 10349 | 0 | -0.2 | 0 | 92695.14
177 | WATER | R10-01Q1.20-P-0016 | SIO Charlestown Flouride System | 2021-10-01 | 118539.69 | 0 | 0 | 0 | 0 | 118539.69
178 | WATER | R10-75Q1.21-P-0006 | Binford VFD | 2021-07-01 | 14105.83 | 0 | 0 | 0 | 0 | 14105.83
179 | WATER | R10-75Q1.20-P-0013 | CL-17sc analyzers and Turbidimeter | 2021-02-01 | 10068.25 | 0 | 0 | 0 | 0 | 10068.25
180 | WATER | R10-75Q1.20-P-0008 | Silver Hills improvements | 2020-11-01 | 8262.67 | 7348.04 | 0 | -1965.86 | 0 | 13644.85
181 | WATER | R10-01M1.21-P-0019 | 2024506 Jeffersonville WTP Electric | 2021-07-16 | 4817.66 | 0 | 0 | 0 | 0 | 4817.66
182 | WATER | R10-55Q1.20-P-0020 | Replace OSEC cell unit at London Rd | 2020-12-18 | 48295.64 | 2319.69 | 0 | -39205.56 | 0 | 11409.77
183 | WATER | R10-55Q1.21-P-0002 | New OSEC cell W3T369970 8 | 2021-02-26 | 48007.01 | 2287.88 | 0 | -39205.56 | 0 | 11089.33
184 | WATER | R10-55Q1.20-P-0018 | Repair work for Marlin lighting str | 2020-11-13 | 26860.81 | 1290.03 | 0 | -23713.57 | 0 | 4437.27
185 | WATER | R10-55Q1.20-P-0019 | Replace New Whiteland booster pump/ | 2020-11-13 | 10099.75 | 455.15 | 0 | -6609.34 | 0 | 3945.56
186 | WATER | R10-55Q1.20-P-0017 | Replace instrumentation London Rd | 2020-11-04 | 4733.86 | 211.75 | 0 | -2821.69 | 0 | 2123.92
187 | WATER | R10-58Q1.20-P-0008 | Chemical Metering Pump | 2020-09-25 | 4552.91 | 0 | 0 | -6397.98 | 0 | -1845.07
188 | WATER | R10-58Q1.20-P-0003 | Transfer Switch for Generator | 2020-05-27 | 0 | 0 | 0 | 0 | 0 | 0
189 | WATER | R10-58Q1.22-P-0004 | Chlorine Probe Depolox FC2 Free | 2022-03-04 | 1219.43 | 478.05 | 0 | -2783.78 | 0 | -1086.3
190 | WATER | R10-65Q1.20-P-0008 | Replace Back Wash Flow Meter | 2020-08-24 | 9322.5 | 439.45 | 0 | -3190.68 | 0 | 6571.27
191 | WATER | R10-65Q1.21-P-0003 | Replaced raw water Mag Meter | 2021-04-16 | 9139.14 | 439.45 | 0 | -7332.18 | 0 | 2246.41
192 | WATER | R10-65Q1.21-P-0007 | Replaced fluoride pump at BR | 2021-07-28 | 4736.92 | 43.7 | 0 | 0 | 0 | 4780.62
193 | WATER | R10-65Q1.21-P-0008 | Replaced fluoride sensor, card, ante | 2021-09-01 | 4453.49 | 707.89 | 0 | 0 | 0 | 5161.38
194 | WATER | R10-65Q1.21-P-0009 | Replace bulk fuel level sensor at B | 2021-11-15 | 3205.9 | 184.8 | 0 | -1847.8 | 0 | 1542.9
195 | WATER | R10-65Q1.22-P-0004 | General electrical replacement/addi | 2022-05-02 | 2585.11 | 179.27 | 0 | 0 | 0 | 2764.38
196 | WATER | R10-15Q1.20-P-0016 | Install & Labor Valves and FIlters | 2020-12-23 | 190146.91 | 19385.22 | 0 | 0 | 0 | 209532.13
197 | WATER | R10-15Q1.20-P-0014 | Conventional Filter Valves and Actu | 2020-12-23 | 172648.69 | 17579.36 | 0 | 0 | 0 | 190228.05
198 | WATER | R10-15Q1.22-P-0008 | Muncie GAC 2022 | 2022-05-25 | 157312.51 | 0 | 0 | 0 | 0 | 157312.51
200 | WATER | R10-15Q1.21-P-0002 | Muncie GAC | 2021-04-20 | 127360.31 | 12868.3 | 0 | -11873.25 | 0 | 128355.36
201 | WATER | R10-15Q1.20-P-0002 | Muncie GAC Exchange | 2020-06-06 | 4663.73 | 12389 | 0 | 0 | 0 | 17052.73
202 | WATER | R10-01Q1.21-P-0003 | MUN Tank Access Safety | 2022-01-28 | 128513.83 | 0 | 0 | -4468.5 | 0 | 124045.33
203 | WATER | R10-15Q1.21-P-0005 | Lab Equipment Upgrade | 2021-12-16 | 50579.12 | 4920.13 | 0 | -3791.05 | 0 | 51708.2
204 | WATER | R10-15Q1.20-P-0022 | Fence row cleanout and replace | 2020-12-23 | 45202.78 | 4608.4 | 0 | 0 | 0 | 49811.18
205 | WATER | R10-15Q1.20-P-0004 | Upgrade Lab Equipment | 2020-10-22 | 26418.39 | 2622.91 | 0 | 0 | 0 | 29041.3
206 | WATER | R10-15Q1.21-P-0010 | Update Flocculator and Gear Boxes | 2021-09-02 | 24775.58 | 2520.95 | 0 | -4406.23 | 0 | 22890.3
207 | WATER | R10-15Q1.21-P-0018 | ClearWell Monitoring Upgrades | 2021-12-02 | 22305.02 | 2227.5 | 0 | 0 | 0 | 24532.52
208 | WATER | R10-15Q1.21-P-0022 | Basin Algae Control System | 2021-11-18 | 19040.11 | 1908.88 | 0 | -1425.83 | 0 | 19523.16
209 | WATER | R10-01Q1.20-P-0014 | RIC Tank Access Safety | 2021-11-10 | 171697.63 | 0 | 0 | 0 | 0 | 171697.63
210 | WATER | R10-25Q1.21-P-0004 | Analyzer & Equipment | 2021-12-30 | 54117.76 | 8460.61 | 0 | 0 | 0 | 62578.37
213 | WATER | R10-01L3.19-P-0006 | Richmond HMI Computer Replacement | 2020-10-13 | 32763.6 | 811.44 | 0 | -34699.04 | 0 | -1124
214 | WATER | R10-25Q1.20-P-0005 | G St Well Projects | 2020-12-29 | 23365.61 | 3634.53 | 0 | -6135.2 | 0 | 20864.94
215 | WATER | R10-25Q1.20-P-0012 | Analizer | 2020-12-23 | 13848.04 | 1241.6 | 0 | 0 | 0 | 15089.64
216 | WATER | R10-01L3.21-P-0002 | Richmond Scada Improvements | 2021-12-30 | 12791.86 | 2001.98 | 0 | 0 | 0 | 14793.84
217 | WATER | R10-25Q1.21-P-0009 | Carbon Exhaust | 2021-12-29 | 8722.8 | 1384.98 | 0 | 0 | 0 | 10107.78
|  | Total SEI Replacement Project Water Investments after Rebuttal and after Bench Questions |  |  | 5372397.27 | 685170.09 | 0 | -947164.5 | 0 | 5110402.86
Water Identified and agreed to remove in Rebuttal
21 | WATER | R10-72Q1.22-P-0003 | Microscope to analyze samp aera tan | 2022-05-27 | 1670.25 | 0 | 0 | 0 | 0 | 1670.25
107 | WATER | R10-50Q1.22-P-0002 | New Auto Flusher for Hydrants at Montgomery County main installation | 2022-03-30 | 2759.93 | 0 | 0 | 0 | 0 | 2759.93
126 | WATER | R10-47Q1.22-P-0004 | Bollards installed at Water Salesma | 2022-04-28 | 2044.71 | 0 | 0 | 0 | 0 | 2044.71
136 | WATER | R10-90Q1.21-P-0027 | Rapid Mix Motor OD | 2021-07-14 | 9949.59 | 0 | 0 | 0 | 0 | 9949.59
176 | WATER | R10-75Q1.19-P-0003 | Charlestown Plant Electrical | 2021-02-01 | 262248.78 | 203323.37 | 0 | -1056 | 0 | 464516.15
199 | WATER | R10-15Q1.21-P-0007 | 2nd Lab Renovation | 2021-11-18 | 141790.28 | 14148.44 | 0 | 0 | 0 | 155938.72
211 | WATER | R10-25Q1.21-P-0002 | HS Building Improvements | 2021-12-30 | 43322.62 | 6869.65 | 0 | -4596.24 | 0 | 45596.03
212 | WATER | R10-25Q1.20-P-0010 | Win High Service Project | 2020-12-29 | 35753.58 | 5785.01 | 0 | -110.59 | 0 | 41428
|  | Total SEI Replacement Project Water Investments Removed in Rebuttal |  |  | 499539.74 | 230126.47 | 0 | -5762.83 | 0 | 723903.38
Wastewater Identified by OUCC IN Direct Testimony
127 | WASTEWATER | R10-72Q1.21-P-0002 | Repl muff monst@raw wtr influent RW | 2021-08-30 | 75072.72 | 7608.1 | 0 | -8096.25 | 0 | 74584.57
128 | WASTEWATER | R10-72Q1.20-P-0005 | Riley WW Electrical upgrade/replace | 2021-05-26 | 12845.1 | 1266.28 | 0 | -1179.63 | 0 | 12931.75
129 | WASTEWATER | R10-72Q1.20-P-0007 | Repl Hydromatic pump RWW Lagoon lif | 2020-12-29 | 9460.9 | 964.31 | 0 | -303.87 | 0 | 10121.34
130 | WASTEWATER | R10-72Q1.20-P-0006 | Riley WW Repl Gear Box om Clarifier | 2020-12-29 | 8632.02 | 865.24 | 0 | -780.65 | 0 | 8716.61
131 | WASTEWATER | R10-72Q1.21-P-0008 | Repl Teledyne Isco 5800 refridge RW | 2022-02-23 | 7277.76 | 743.45 | 0 | -736.3 | 0 | 7284.91
132 | WASTEWATER | R10-72Q1.21-P-0004 | Rpl backup lift stat pump Frye Rd-R | 2021-08-03 | 7228.87 | 7313.54 | 0 | -13896.14 | 0 | 646.27
Wastewater Identified in Reponding to January 30, 2023 Bench Request
157 | WASTEWATER | R10-11L1.20-P-0003 | Sheridan Lift Station Controls Upgr | 2021-02-25 | 180304.21 | 0 | 0 | 0 | 0 | 180304.21
158 | WASTEWATER | R10-11Q1.20-P-0007 | Plant Generator Replacement | 2021-06-15 | 109234.65 | 7763.52 | 0 | -20915.35 | 0 | 96082.82
159 | WASTEWATER | R10-11Q1.20-P-0005 | Sludge Beds | 2020-12-22 | 50137.48 | 5997.48 | 0 | -16236.79 | 0 | 39898.17
160 | WASTEWATER | R10-11Q1.20-P-0006 | Digester Improvement | 2021-02-16 | 43613.87 | 5275.41 | 0 | -7528.69 | 0 | 41360.59
161 | WASTEWATER | R10-11Q1.21-P-0002 | Pump Removal & Replacement | 2021-05-17 | 8680.93 | 2583 | 0 | -59287.93 | 0 | -48024
162 | WASTEWATER | R10-11Q1.21-P-0010 | Sheridan WW REPLC Sewage Lift Pump | 2022-02-15 | 8181.41 | 563.15 | 0 | -2070.62 | 0 | 6673.94
163 | WASTEWATER | R10-11Q1.21-P-0013 | REPLC Lab Equipment | 2022-03-09 | 3841.97 | 478.61 | 0 | -1045.77 | 0 | 3274.81
164 | WASTEWATER | R10-11Q1.21-P-0005 | Valve Actuator | 2021-08-16 | 3072.72 | 239.09 | 0 | -836.61 | 0 | 2475.2
165 | WASTEWATER | R10-11Q1.22-P-0002 | REPLC Chlorine Room Heater | 2022-03-03 | 2736.58 | 406.79 | 0 | -836.61 | 0 | 2306.76
166 | WASTEWATER | R10-11Q1.22-P-0003 | REPLC Lab Equipment Analyzers | 2022-03-03 | 2292.36 | 285.3 | 0 | 0 | 0 | 2577.66
|  | Total SEI Replacement Project WasteWater Investments |  |  | 532613.55 | 42353.27 | 0 | -133751.21 | 0 | 441215.61
218 |  | Total SEI Replacement Project Investments As Originally Filed |  |  | 6404550.56 | 957649.83 | 0 | -1086678.54 | 0 | 6275521.85