## Cover
IURC Cause No. 45253
On Behalf of Duke Energy Indiana, LLC
Appendix to 2024 Annual Performance Metrics Report

## 24 DEI Metrics Report Apendix
Duke Energy Indiana, LLC
Performance Metrics Report
Annual Data
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
SAFETY
Property and Public Safety
Underground Damage Rate - per 1000 requests | NA | NA | NA | 1.2% | 1.17% | 0.92% | 0.84% | 0.955% | 0.89% | 0.73%
Vendor On-Time Performance Rate - vendor reported | NA | NA | NA | 98.4% | 95.59% | 98.7% | 97.8% | 95.4% | 91.9% | 94%
Employee Safety
Total Incident Case Rate (TICR) | 1.53 | 0.82 | 0.86 | 1.26 | 1.08 | 0.53 | 0.98 | 0.91 | 0.55 | 0.56
Days Away, Restricted or Transferred Rate (DART) | 0.8 | 0.68 | 0.6 | 0.51 | 0.51 | 0.33 | 0.049 | 0.7 | 0.07 | 0.25
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
RELIABILITY
Major Event Days
Major Event Days (MED) | 6 | 4 | 10 | 7 | 9 | 6 | 4 | 3 | 11 | 4
Threshold MED (TMED) - minutes | 5.26 | 5.1 | 4.59 | 4.73 | 5.43 | 5.76 | 6.05 | 5.8734 | 5.77 | 5.59
Reliability Indices
System Average Interruption Duration (SAIDI) with MED | 211 | 289.8 | 260.7 | 366 | 220.6 | 278.9 | 203.1 | 215.7 | 645.3 | 295.6
System Average Interruption Duration (SAIDI) excl. MED | 121 | 142.5 | 138.3 | 156.2 | 140.4 | 121 | 127.1 | 160.4 | 98 | 112.9
System Average Interruption Frequency Index (SAIFI) with MED | 1.27 | 1.34 | 1.33 | 1.45 | 1.38 | 1.25 | 1.11 | 1.32 | 1.48 | 1.18
System Average Interruption Frequency Index (SAIFI) excl. MED | 1.03 | 1.1 | 0.99 | 1.06 | 1.07 | 0.95 | 0.94 | 1.16 | 0.89 | 0.94
Customer Average Interruption Duration Index (CAIDI) with MED | 166.1 | 216.7 | 196 | 252.9 | 160 | 222.5 | 182.3 | 163.9 | 434.7 | 250.4
Customer Average Interruption Duration Index (CAIDI) - excl. MED | 117.5 | 129.6 | 139.6 | 148 | 131.6 | 127.2 | 135.9 | 138.4 | 109.9 | 120.5
Vegetation Management
Transmission Overhead Line Miles | 601.47 | 390.84 | 558.98 | 444.1 | 659 | 417.5 | 586 | 273.28 | 463.1 | 572.4
Distribution Overhead Line Miles | 3149.65 | 2420.64 | 1009.45 | 1008.59 | 980.45 | 2813.1 | 3361.05 | 3197.84 | 3389.4 | 3229.7
Transmission Investment (in Millions) | 10.6 | 9.4 | 8.6 | 10.2 | 23.1 | 24.7 | 29.7 | 25.9 | 30.2 | 35
Distribution Investment (in Millions) | 20.1 | 22.9 | 17.3 | 24.9 | 40.8 | 60 | 60.3 | 58.7 | 59.4 | 49.1
Transmission & Distribution SAIDI (with MED) | 81.5 | 94.2 | 103.6 | 164.5 | 86.8 | 116.4 | 70.9 | 66.9 | 224 | 101.1
Transmission & Distribution SAIDI (excl. MED) | 37.6 | 40.7 | 42.6 | 50.6 | 44.1 | 34.2 | 36 | 40.4 | 23 | 29
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
GENERATION
Capacity - Summer (1)
Unforced Capacity (UCAP)/SAC - Coal | 3884 | 3816 | 3816 | 3761 | 3816 | 3694 | 3344 | 3252 | 3050 | 3054.7
Unforced Capacity (UCAP)/SAC - IGCC | 482 | 464 | 473 | 456 | 477 | 460 | 473 | 444 | 429 | 428.8
Unforced Capacity (UCAP)/SAC - Gas | 1662 | 1699 | 1689 | 1669 | 1715 | 1700 | 1692 | 1703 | 1780 | 1504.2
Unforced Capacity (UCAP)/SAC - Hydro | 56 | 54 | 53 | 40 | 39 | 34 | 51 | 55 | 52 | 52
Unforced Capacity (UCAP)/SAC - Wind | 10 | 10 | 9 | 8 | 9 | 8 | 5 | 7 | 6 | 6
Unforced Capacity (UCAP)/SAC - Oil | 143 | 134 | 124 | 9 | 9 | 8 | 9 | 9 | 10 | 10
Unforced Capacity (UCAP)/SAC - Solar | 0 | 0 | 0 | 11 | 24 | 26 | 26 | 27 | 27 | 26.9
Unforced Capacity (UCAP)/SAC - Total | 6237 | 6177 | 6164 | 5954 | 6089 | 5929 | 5599 | 5498 | 5359 | 5358.8
Uncredited Capacity (UCAP) - Total | 527 | 565 | 577 | 635 | 543 | 680 | 735 | 805 | 968 | 967.64
Total Installed Capacity (ICAP) | 6764 | 6742 | 6742 | 6589 | 6632 | 6610 | 6334 | 6302 | 6326 | 6326.44
Capacity - Fall (1)
Unforced Capacity (UCAP)/SAC - Coal | NA | NA | NA | NA | NA | NA | NA | NA | 3030 | 3030
Unforced Capacity (UCAP)/SAC - IGCC | NA | NA | NA | NA | NA | NA | NA | NA | 470 | 469.5
Unforced Capacity (UCAP)/SAC - Gas | NA | NA | NA | NA | NA | NA | NA | NA | 1574 | 1352.7
Unforced Capacity (UCAP)/SAC - Hydro | NA | NA | NA | NA | NA | NA | NA | NA | 39 | 39
Unforced Capacity (UCAP)/SAC - Wind | NA | NA | NA | NA | NA | NA | NA | NA | 8 | 7.9
Unforced Capacity (UCAP)/SAC - Oil | NA | NA | NA | NA | NA | NA | NA | NA | 10 | 9.6
Unforced Capacity (UCAP)/SAC - Solar | NA | NA | NA | NA | NA | NA | NA | NA | 19 | 19
Unforced Capacity (UCAP)/SAC - Total | NA | NA | NA | NA | NA | NA | NA | NA | 5149 | 5148.9
Uncredited Capacity (UCAP) - Total | NA | NA | NA | NA | NA | NA | NA | NA | 1213 | 1212.6216
Total Installed Capacity (ICAP) | NA | NA | NA | NA | NA | NA | NA | NA | 6362 | 6361.5216
Capacity - Winter (1)
Unforced Capacity (UCAP)/SAC - Coal | NA | NA | NA | NA | NA | NA | NA | NA | 2930 | 2929.6
Unforced Capacity (UCAP)/SAC - IGCC | NA | NA | NA | NA | NA | NA | NA | NA | 486 | 485.6
Unforced Capacity (UCAP)/SAC - Gas | NA | NA | NA | NA | NA | NA | NA | NA | 1990 | 1697.8
Unforced Capacity (UCAP)/SAC - Hydro | NA | NA | NA | NA | NA | NA | NA | NA | 22 | 22
Unforced Capacity (UCAP)/SAC - Wind | NA | NA | NA | NA | NA | NA | NA | NA | 25 | 25
Unforced Capacity (UCAP)/SAC - Oil | NA | NA | NA | NA | NA | NA | NA | NA | 10 | 9.7
Unforced Capacity (UCAP)/SAC - Solar | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0.4
Unforced Capacity (UCAP)/SAC - Total | NA | NA | NA | NA | NA | NA | NA | NA | 5462 | 5462.4
Uncredited Capacity (UCAP) - Total | NA | NA | NA | NA | NA | NA | NA | NA | 1307 | 1307.1445
Total Installed Capacity (ICAP) | NA | NA | NA | NA | NA | NA | NA | NA | 6770 | 6769.5445
Capacity - Spring (1)
Unforced Capacity (UCAP)/SAC - Coal | NA | NA | NA | NA | NA | NA | NA | NA | 2938 | 2938.4
Unforced Capacity (UCAP)/SAC - IGCC | NA | NA | NA | NA | NA | NA | NA | NA | 446 | 445.9
Unforced Capacity (UCAP)/SAC - Gas | NA | NA | NA | NA | NA | NA | NA | NA | 1816 | 1588.8
Unforced Capacity (UCAP)/SAC - Hydro | NA | NA | NA | NA | NA | NA | NA | NA | 20 | 20
Unforced Capacity (UCAP)/SAC - Wind | NA | NA | NA | NA | NA | NA | NA | NA | 23 | 22.5
Unforced Capacity (UCAP)/SAC - Oil | NA | NA | NA | NA | NA | NA | NA | NA | 11 | 10.8
Unforced Capacity (UCAP)/SAC - Solar | NA | NA | NA | NA | NA | NA | NA | NA | 23 | 22.6
Unforced Capacity (UCAP)/SAC - Total | NA | NA | NA | NA | NA | NA | NA | NA | 5276 | 5276.2
Uncredited Capacity (UCAP) - Total | NA | NA | NA | NA | NA | NA | NA | NA | 1202 | 1201.99
Total Installed Capacity (ICAP) | NA | NA | NA | NA | NA | NA | NA | NA | 6478 | 6478.19
Net Capacity Factors
Net Capacity Factor - Coal | 49.92% | 56.68% | 61.48% | 61.68% | 41.24% | 41.5% | 36.88% | 37.41% | 33.63% | 39.16%
Net Capacity Factor - IGCC | 57.4% | 56.97% | 73.32% | 73.19% | 73.55% | 60.2% | 70.93% | 72.82% | 64.65% | 52.79%
Net Capacity Factor - Gas | 38.86% | 39.68% | 20.78% | 55.45% | 55.38% | 61.5% | 46.9% | 57.13% | 46.82% | 66.06%
Net Capacity Factor - Hydro | 76.88% | 86.73% | 51.83% | 32.72% | 41.7% | 51.8% | 68.29% | 68.29% | 84.13% | 61.29%
Performance
Equivalent Availability Factor (EAF) - Coal | 78.51% | 85.12% | 83.26% | 82.79% | 75.07% | 72.7% | 64.38% | 67.38% | 72.89% | 81.8%
Equivalent Availability Factor (EAF) - IGCC | 68.49% | 59.58% | 78.09% | 75.7% | 75.41% | 62.9% | 72.81% | 75.67% | 66.85% | 58.14%
Equivalent Availability Factor (EAF) - Gas | 84.53% | 83.08% | 82.46% | 82.62% | 78.28% | 79.6% | 78.97% | 78.25% | 75.56% | 78.05%
Equivalent Availability Factor (EAF) - Hydro | 93.56% | 95.92% | 80.22% | 56.63% | 54.07% | 63.9% | 78.69% | 84.88% | 77.43% | 63.64%
Equivalent Forced Outage Rate (EFOR) - Coal | 11.59% | 8.06% | 6.39% | 10.07% | 14.77% | 15.3% | 14.77% | 13.36% | 8.3% | 5.823%
Equivalent Forced Outage Rate (EFOR) - IGCC | 18.82% | 19.94% | 13.58% | 12.5% | 16.02% | 12.6% | 14.89% | 15.72% | 8.59% | 12.65%
Equivalent Forced Outage Rate (EFOR) - Gas | 8.4% | 11.6% | 7.7% | 2% | 6% | 9.3% | 9.7% | 5.717% | 15.84% | 0.5008%
Equivalent Forced Outage Rate (EFOR) - Hydro | 5.63% | 3.77% | 8.74% | 10.64% | 2.2% | 2.8% | 2.437% | 1.004% | 0.24% | 2.24%
Equivalent Forced Outage Factor (EFOF) - Coal | 8.94% | 6.55% | 5.19% | 8.68% | 10.29% | 10.4% | 9.009% | 9.393% | 5.7% | 4.06%
Equivalent Forced Outage Factor (EFOF) - IGCC | 16.41% | 15.67% | 13.58% | 12.41% | 16.02% | 9.8% | 14.87% | 15.72% | 8.35% | 8.997%
Equivalent Forced Outage Factor (EFOF) - Gas | 4.72% | 6.9% | 2.48% | 1.68% | 4.9% | 7.9% | 7.453% | 4.22% | 11.5% | 0.3915%
Equivalent Forced Outage Factor (EFOF) - Hydro | 5.58% | 3.75% | 7.68% | 6.75% | 1.19% | 1.8% | 1.585% | 0.6557% | 0.2% | 1.473%
CT Starting Reliability | 99.6% | 99.21% | 99.44% | 99.53% | 99.64% | 99.9% | 99.8% | 99.23% | 99.57% | 99.64%
CT Starts | 2245 | 2138 | 1791 | 2979 | 1916 | 1802 | 2559 | 2836 | 2988 | 3605
Solar Energy Yield | NA | NA | 86.8% | 93.8% | 99.2% | 98.5% | 84.6% | 97.2% | 98.7% | 98.7%
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
CUSTOMER SERVICE
Call Center Operations
Average Speed of Answer (ASA) - seconds | 57.5 | 32.9 | 36.7 | 56.4 | 167.3 | 122.8 | 64.7 | 67.7 | 44.7 | 19.1
Abandonment Rate | 5.45% | 3.63% | 3.36% | 5.24% | 13.93% | 10.68% | 5.92% | 4.9% | 4.2% | 1.7%
Service Level | 68% | 80% | 77% | 69.9% | 54% | 77% | 89% | 88% | 88% | 96%
Service Efficiency
Meter Reading Accuracy | 96.4% | 98.5% | 98.5% | 97.5% | 97.6% | 95.5% | 94.4% | 94.4% | 95.2% | 96.5%
First Call Resolution | 83.6% | 86% | 87% | 87.7% | 84.3% | 79.9% | 68.5% | 65.2% | 65% | 70.1%
AMI Meters | NA | 37100 | 277812 | 569581 | 866267 | 0 | 0 | 0 | 0 | 0
Customer Satisfaction
JD Power Residential Score (2) | 669 | 686 | 733 | 731 | 746 | 756 | 759 | 734 | 722 | 712
IURC Customer Complaints - Total | 158 | 236 | 579 | 294 | 263 | 179 | 183 | 268 | 191 | 100
IURC Customer Complaints - Substantiated | 14 | 11 | 13 | 3 | 6 | 10 | 17 | 9 | 7 | 5
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
AFFORDABILITY
Average Rates (3)
Typical Residential 1000 kWh Bill - Monthly | 119.17 | 111.26 | 118.76 | 118.76 | 123.43 | 116.66 | 129.73 | 138.87 | 167.22 | 134.2
DEI Average Residential kWh Bill (960 kWh) - Monthly | 115.23 | 107.67 | 114.85 | 114.82 | 119.33 | 112.79 | 125.44 | 134.23 | 161.43 | 129.63
Commercial Bill - EEI Profile (3 kW, .375 MWh) - Cents per kWh | 0.1493 | 0.1413 | 0.152 | 0.152 | 0.16 | 0.152 | 0.168 | 0.17867 | 0.2053 | 0.17333
Commercial Bill - EEI Profile (40 kW, 10 MWh) - Cents per kWh | 0.0919 | 0.0843 | 0.0947 | 0.0946 | 0.1038 | 0.098 | 0.1048 | 0.116 | 0.1428 | 0.1095
Commercial Bill - EEI Profile (500 kW, 150 MWh) - Cents per kWh | 0.0936 | 0.0858 | 0.0945 | 0.0937 | 0.0998 | 0.0946 | 0.0991 | 0.1097 | 0.1249 | 0.105
Industrial Bill - EEI Profile (75 kW, 15 MWh) - Cents per kWh | 0.0996 | 0.0917 | 0.1005 | 0.0988 | 0.105 | 0.0994 | 0.1037 | 0.11373 | 0.1423 | 0.10907
Industrial Bill - EEI Profile (75 kW, 50 MWh) - Cents per kWh | 0.0719 | 0.064 | 0.0708 | 0.0701 | 0.0777 | 0.0728 | 0.0792 | 0.09076 | 0.1174 | 0.08616
Industrial Bill - EEI Profile (50 MW, 15 GWh) - Cents per kWh | 0.0835 | 0.0756 | 0.0843 | 0.0828 | 0.0899 | 0.0843 | 0.084 | 0.09472 | 0.1233 | 0.090249
Industrial Bill - EEI Profile (75 kW, 25 GWh) - Cents per kWh | 0.0757 | 0.0679 | 0.0758 | 0.0743 | 0.0814 | 0.076 | 0.0755 | 0.086372 | 0.1144 | 0.082086
Bill Delinquency
Average % of Account Dollars in Arrears (greater than 30 days past due) | 16% | 15% | 15% | 16% | 15% | 20% | 17% | 24.53% | 27% | 17%
Number of Disconnections for Non-Payment | 85525 | 78628 | 95908 | 64225 | 48293 | 27745 | 51528 | 22786 | 40509 | 43500
Number of Disconnection Notices | 685601 | 568650 | 707922 | 958618 | 990206 | 512553 | 770958 | 407344 | 464446 | 814408
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
EXPENSE
Sales
Retail Sales - Residential | 8924185 | 9036012 | 8644836 | 9550112 | 9246749 | 9081648 | 9169936 | 9437091 | 8610814 | 9014130
Retail Sales - Commercial | 6244535 | 6322074 | 6145934 | 6340543 | 6207538 | 5771238 | 6013835 | 6364838 | 6228067 | 6257681
Retail Sales - Industrial | 10505307 | 10564695 | 10598737 | 10607298 | 10327072 | 9573093 | 9769133 | 9534798 | 8895566 | 9197327
Retail Sales - Other Public Authorities | 2094028 | 2083006 | 2054448 | 2080750 | 2004345 | 1846217 | 1935835 | 1893076 | 1819591 | 1915629
Retail Sales - Other | 52900 | 52596 | 52457 | 51967 | 51279 | 50706 | 50078 | 60110 | 64847 | 55839
Retail Sales - Total | 27820955 | 28058383 | 27496412 | 28630670 | 27836983 | 26322902 | 26938817 | 27289913 | 25618885 | 26440606
Wholesale Sales | 5696614 | 6310443 | 5649258 | 5624027 | 4050380 | 4205349 | 4448950 | 4689027 | 4599744 | 4244277
Total Sales | 33517569 | 34368826 | 33145670 | 34254697 | 31887363 | 30528251 | 31387767 | 31978940 | 30218629 | 30684883
Retail Sales - Residential (weather normal) | 8099206 | 8942776 | 8891748 | 9043034 | 9001828 | 9164431 | 9170165.084 | 9140900 | 9028539 | 9215002.3585
Annual Residential kWh Usage per Customer (Total) | 12759.0429 | 12766.6598 | 12107.2065 | 13185.2625 | 12598.7119 | 12189.6898 | 12172.2283 | 12250.06 | 11011.8203 | 11320.5152
Annual Residential kWh Usage per Customer (weather normal) | 11579.5579 | 12634.93 | 12453.01 | 12485.1706 | 12265.0066 | 12300.8039 | 12172.5324 | 11865.5816 | 11546.0221 | 11572.7834
Total MWh Generated | 26381251 | 27097612 | 27580105 | 28941216 | 21144373 | 20849664 | 19442882 | 19607255 | 18158093 | 20435863
Transmission Conductor Miles | 5300 | 5200 | 5300 | 5286 | 5335 | 5268 | 5300 | 5300 | 5300 | 5300
Distribution Conductor Miles | 31000 | 31200 | 31300 | 31200 | 31300 | 31472 | 31300 | 31900 | 31800 | 32200
Customers
Retail Customers - Residential | 699440 | 707782 | 714024 | 724302 | 733944 | 745027 | 753349 | 770371 | 781961 | 796265
Retail Customers - Commercial | 90381 | 90688 | 91018 | 91476 | 91663 | 92420 | 93069 | 95320 | 96399 | 97349
Retail Customers - Industrial | 2707 | 2721 | 2718 | 2721 | 2692 | 2697 | 2688 | 2669 | 2648 | 2630
Retail Customers - Other Public Authorities | 10220 | 10181 | 10145 | 10063 | 10056 | 10038 | 9999 | 9510 | 9247 | 8974
Retail Customers - Other | 1574 | 1615 | 1664 | 1708 | 1761 | 1822 | 1867 | 3458 | 3905 | 3793
Retail Customers - Total | 804322 | 812987 | 819569 | 830270 | 840116 | 852004 | 860972 | 881328 | 894160 | 909011
O&M Expense
Total Power Production O&M | 1280756693 | 1235583591 | 1320709629 | 1351275902 | 1275469050 | 1115013534 | 1293209011 | 2110611102 | 1538558061 | 1242607603
Total Non-Fuel Power Production O&M | 319758929 | 248812464 | 386772789 | 326392916 | 379638676 | 319018254 | 145784908 | 293807539 | 466707413 | 484080670
Total Transmission O&M | 62855008 | 76550395 | 82484614 | 91492718 | 110818348 | 105932303 | 105803748 | 104849752 | 83850087 | 99528291
Total Regional Market Expenses | 5368532 | 5608788 | 5009811 | 6138910 | 7541986 | 7082856 | 5332555 | 5135085 | 5563916 | 6092841
Total Distribution O&M | 91194003 | 99679927 | 99540734 | 116507529 | 118208161 | 111436845 | 120625683 | 122098401 | 90290536 | 103254983
Total Customer Related O&M | 49548688 | 36137127 | 38137811 | 39637686 | 35288249 | 28065969 | 29314028 | 29441788 | 31344179 | 37383876
Total A&G O&M | 161177793 | 152284375 | 140185443 | 148038894 | 148810031 | 135237346 | 157563462 | 151415843 | 119298435 | 120987270
Total A&G O&M excluding benefits | 114139011 | 114227649 | 108015074 | 113240194 | 116655265 | 105838874 | 124554023 | 120935936 | 107862122 | 114306763
Total O&M | 1650900747 | 1605844203 | 1686157941 | 1753091639 | 1696135825 | 1502768853 | 1711848487 | 2523551971 | 1868905214 | 1609854864
Total Non-Fuel O&M | 713192739 | 705217404 | 675958347 | 706439779 | 730626696 | 721352158 | 695762411 | 682297992 | 586427766 | 601971986
O&M Expense per Unit or Measure
Total O&M Expense per MWh Sold - Total | 49.25 | 46.72 | 50.87 | 51.18 | 53.19 | 49.23 | 54.5387 | 78.9129 | 61.85 | 52.4641
Total O&M Expense per MWh Sold - Total Non-Fuel | 21.28 | 20.52 | 20.39 | 20.62 | 22.91 | 23.63 | 22.1667 | 21.3359 | 19.41 | 19.6179
Total O&M Expense per Retail Customer - Total | 2052.54 | 1975.24 | 2057.37 | 2111.47 | 2018.93 | 1763.8 | 1988.2743 | 2863.3516 | 2090.12 | 1770.996
Total O&M Expense per Retail Customer - Total Non-Fuel | 886.7 | 867.44 | 824.77 | 850.86 | 869.67 | 846.65 | 808.1127 | 774.1703 | 655.84 | 662.2274
Non-Fuel Power Production O&M Expense per MWh Sold | 10.23 | 9.75 | 9.37 | 8.89 | 9.72 | 10.93 | 8.829 | 8.423 | 8.47 | 7.6495
Non-Fuel Power Production O&M Expense per MWh Generated | 13.08 | 12.36 | 11.26 | 10.53 | 14.66 | 16 | 14.25 | 13.7376 | 14.1 | 11.4859
Transmission O&M Expense per MWh Sold | 1.88 | 2.23 | 2.49 | 2.67 | 3.48 | 3.47 | 3.3709 | 3.2787 | 2.77 | 3.2436
Transmission O&M Expense per Transmission Conductor Mile | 11859.44 | 14721.23 | 15563.13 | 17308.5 | 20771.95 | 20108.6376 | 19962.9713 | 19782.9721 | 15821 | 18778.9228
Distribution O&M Expense per MWh Sold | 2.72 | 2.9 | 3 | 3.4 | 3.71 | 3.65 | 3.84 | 3.8181 | 2.99 | 3.365
Distribution O&M Expense per Distribution Conductor Mile | 2935 | 3195 | 3183 | 3730 | 3780 | 3541 | 3854 | 3827.5361 | 2839 | 3206.6765
Customer Related O&M Expense per MWh Sold | 1.48 | 1.05 | 1.15 | 1.16 | 1.11 | 0.92 | 0.93393 | 0.92066 | 1.04 | 1.2183
Customer Related O&M Expense per Retail Customer | 61.6 | 44.45 | 46.53 | 47.74 | 42 | 32.94 | 34.0476 | 33.4062 | 35.05 | 41.1259
Total A&G O&M Expense per MWh Sold (incl. Benefits) | 4.81 | 4.43 | 4.23 | 4.32 | 4.67 | 4.43 | 5.02 | 4.7349 | 3.95 | 3.9429
Total A&G O&M Expense per MWh Sold (excl. Benefits) | 3.41 | 3.32 | 3.26 | 3.31 | 3.66 | 3.47 | 3.97 | 3.7817 | 3.57 | 3.7252
Total A&G O&M Expense per Retail Customer (incl. Benefits) | 200.39 | 187.31 | 171.05 | 178.3 | 177.13 | 158.73 | 183.0065 | 171.8042 | 133.42 | 133.0977
Total A&G O&M Expense per Retail Customer (excl. Benefits) | 141.91 | 140.5 | 131.79 | 136.39 | 138.86 | 124.22 | 144.6668 | 137.2201 | 120.63 | 125.7485
Asset Management (in Billions)
Net Plant In Service - Production | 5.5 | 5.3879 | 5.466 | 5.5224 | 5.4147 | 5.3158 | 5.1781 | 4.9687 | 4.8 | 4.6791
Net Plant In Service - Transmission | 0.9 | 0.96108 | 1.0805 | 1.2132 | 1.3424 | 1.4473 | 1.5544 | 1.7632 | 1.9 | 2.0454
Net Plant In Service - Distribution | 1.5 | 1.6301 | 1.8149 | 2.0283 | 2.3567 | 2.6155 | 2.9001 | 3.2359 | 3.6 | 3.9166
Net Plant In Service - Other | 0.2 | 0.23323 | 0.31016 | 0.32132 | 0.37769 | 0.42124 | 0.45507 | 0.59381 | 0.5 | 0.44076
Net Plant In Service - Total | 8.1 | 8.2123 | 8.6715 | 9.0852 | 9.4914 | 9.7998 | 10.0877 | 10.5617 | 10.7 | 11.0819
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
STAFFING
Employee Turnover Rate
Duke Energy Indiana | 8.38% | 7.9% | 6.77% | 9.2% | 6.57% | 5.59% | 8.5% | 8.95% | 6.57% | 5.53%
Duke Energy Business Services | 6.69% | 10.32% | 7.54% | 5.93% | 11.05% | 5.35% | 8.25% | 10.76% | 8.72% | 8.72%
Total Duke Energy | 6.55% | 9.19% | 6.49% | 5.88% | 11.94% | 5.79% | 7.82% | 9.27% | 7.44% | 8.07%
Employee Age Distribution
18-35 - Duke Energy Indiana | 31.5% | 30.8% | 32.5% | 33% | 32.7% | 31.4% | 29.9% | 32.73% | 31.7% | 29.3%
36-53 - Duke Energy Indiana | 42.7% | 44.6% | 44% | 46% | 47.1% | 47.5% | 48.6% | 47.9% | 48% | 50%
54+ - Duke Energy Indiana | 25.8% | 24.5% | 23.5% | 21% | 20.3% | 21.1% | 21.6% | 19.37% | 20.3% | 20.6%
18-35 - Duke Energy Business Services | 19.04% | 19.15% | 20.59% | 21.63% | 22.38% | 20.74% | 20.6% | 21.58% | 21.2% | 20.8%
36-53 - Duke Energy Business Services | 43.71% | 43.83% | 42.75% | 43.06% | 43.48% | 43.23% | 44% | 44.46% | 44.8% | 46%
54+ - Duke Energy Business Services | 37.25% | 37.02% | 36.66% | 35.31% | 34.14% | 36.03% | 35.4% | 33.96% | 34% | 33.3%
18-35 - Duke Energy | 22.73% | 23.68% | 24.23% | 25.47% | 26.44% | 24.74% | 24.71% | 26.11% | 25.6% | 25.7%
36-53 - Duke Energy | 41.84% | 42.57% | 41.86% | 41.44% | 42.81% | 43.41% | 44.11% | 44.45% | 45% | 45.9%
54+ - Duke Energy | 35.42% | 33.75% | 33.91% | 33.09% | 30.75% | 31.85% | 31.18% | 29.44% | 29.4% | 28.5%
Females as a Percent of Workforce
Duke Energy Indiana | 10.31% | 10.03% | 11.23% | 11.31% | 11.02% | 10.5% | 11.3% | 11% | 11.2% | 11%
Duke Energy Business Services | 34.61% | 34.5% | 34.79% | 34.94% | 34.72% | 34.44% | 34.5% | 34.3% | 32.7% | 32%
Total Duke Energy | 22.61% | 22.82% | 22.93% | 23.29% | 23.7% | 23.26% | 23.7% | 23.6% | 23.4% | 22.9%
Minorities as a Percent of Workforce
Duke Energy Indiana | 4.47% | 4.19% | 4.4% | 4.56% | 4.71% | 5.18% | 4.7% | 4.5% | 4.7% | 4.6%
Duke Energy Business Services | 17.04% | 17.04% | 17.98% | 19.05% | 20.15% | 20.25% | 20.5% | 22.2% | 21.8% | 22.4%
Total Duke Energy | 16.31% | 17.2% | 17.58% | 18.37% | 19.33% | 18.96% | 19.3% | 19.9% | 20% | 20.2%
(1) Annual capacity amounts for 2015 - 2022 are reported under the Summer category. Beginning in 2023, the information is now reported separately for each season as a reflection of MISO's change to a Seasonal Accredited Capacity construct.
(2) J.D. Power reports a total combined score for Duke Energy Midwest (Ohio, Kentucky, and Indiana); therefore, what is reported by J.D. Power publicly is different than what is reported above. Duke Energy Indiana specific information can be extracted from the data on years the Company purchases a subscription for the information.
(3) The Average Rate information for 2024 is as of January 1, 2024 per the EEI Winter Typical Bill and Average Rates Report. Note that Figures 38 - 40 in the 2024 Performance Metrics Report include information for 2024 as of both January 1 and July 1, 2024.
Note on A80: McCardel, Janna: fig 14
Note on A86: McCardel, Janna: Fig 11
Note on A90: McCardel, Janna: fig 12
Note on A94: McCardel, Janna: fig 13
Note on A98: McCardel, Janna: fig 16
Note on A100: McCardel, Janna: fig 15
Note on A105: McCardel, Janna: fig 17